City of Springfield, Massachusetts

Invitation to Bid # 14-243

For

Demolition/Deconstruction Removal and Site Work

of Various Properties

(259 Eastern Avenue, 43 Stebbins Street,  192-194 Quincy Street, 187 Pine Street)

April 2014

TABLE OF CONTENTS

Number of Pages

TITLE PAGE	1

TABLE OF CONTENTS	1

BIDDING DOCUMENTS

GENERAL REQUIREMENTS	3

INSTRUCTION TO BIDDERS	7

DEMOLITION SCHEDULE	1

BID FORM	2

MANDATORY SUBMISSION REQUIREMENTS	1

TECHNICAL SPECIFICATIONS

Section 02080	-	ASBESTOS ABATEMENT	11

Section 02081	-	DISTURBANCE OF LEAD-CONTAINING MATERIAL	8

Section 02082	-	MISCELANEOUS HAZARDOUS MATERIALS REMOVAL	6

Section 02083	-	DEMOLITION	5

Section 02084	-	EARTHWORK	4

GENERAL REQUIREMENTS

- The City of Springfield is soliciting bids for the demolition and/or deconstruction of the following properties located in Springfield, Massachusetts:

- 259 Eastern Avenue

- 187 Pine Street

- 192-194 Quincy Street

- 43 Stebbins Street

- A Hazardous Materials Inspection of the specified building has been conducted by the Owner’s Consultant.  The Contractor shall refer to Sections 02080, 02081 and 02082 of this Invitation for Bids (IFB) for a summary of materials that are required to be removed and disposed of in accordance with local, state and federal regulations prior to building demolition under this IFB.  The results of the testing have been attached to Section 02080.  However, it should be noted that heating systems identified by the Consultant have not been tested for the presence of asbestos (unless otherwise noted herein).  The Contractor shall assume heating systems to be asbestos containing and include with the bid removal of all heating systems identified by the Consultant.

- The Contractor shall refer to Sections 02083 and 02084 for demolition and site restoration requirements.

- All refuse and equipment shall be removed from the premises and each site.

- Utilize rodent control service treatment prior to demolition or deconstruction. If necessary, utilize insect control services treatment prior to demolition, e.g. bee or hornet nests.

- The contractor shall at his own expense, be responsible for conducting the demolition and/or deconstruction work; the removal and disposal of all demolition and deconstruction materials and site debris, including any and all hazardous materials in a proper manner meeting all applicable federal, state and local laws and regulations.  The contractor shall submit evidence of such removal and disposal, in the form of trucking slips, disposal site receipts and in the case of hazardous materials, any and all disposal permits, bills of lading, disposal facility receipts as part of the submission for permit and payment procedures.

- The contractor shall submit evidence of removal and legal disposal of demolition debris and all hazardous material; i.e. asbestos, prior to the City of Springfield approving payment for work.

- Prior to starting work, contractor must deposit with the Chief Procurement Officer, Certificates(s) of Insurance specifying coverages as required per Insurance Specification sheet attached.

- The Contractor shall, at his own expense, secure from and pay the fees or charges for removal of abandoned water taps, sealing of house connection drains, pavement cuts, and repaving of street and sidewalks and all other building, electrical, plumbing, gas, and sewer permits and demolition permits, necessary under the appropriate regulatory body or any of its agencies.

- The contractor shall provide timely notification of the demolition work and schedule to the property owner and adjacent property owners in writing. Notices shall be sent using the U.S. Postal Service to the address on file with the City of Springfield Assessors Office. A copy of such notices shall be submitted to the city prior to the commencement of demolition work. Proper care and execution shall be taken to ensure the protection of abutting properties.

- The contractor shall digitally photograph in sufficient quantity and quality each demolition site and surrounding properties to document the conditions that exist prior to the commencement of demolition activities. A copy of digital photographs shall be submitted to the city prior to the commencement of demolition activities.

- The contractor shall conduct a thorough search of the building prior to demolition or deconstruction to ensure the building is vacant.

- Housing Department personnel, as well as representatives of the owner may be present at the site at the start of demolition or deconstruction. Notice must be given to the City of Springfield, Office of Housing forty eight (48) hours prior to demolition to allow for scheduling of Housing Department personnel and to allow time for notification of mortgagee. For deconstruction the contractor shall present a detailed methodology.

- Where necessary, temporary traffic control by the City of Springfield Police Department shall be the responsibility of the contractor.  No public way, private access or pedestrian ways shall be obstructed or closed without written permission from City of Springfield officials having jurisdiction over such facilities.

- Demolition or deconstruction cannot proceed until authorized by the City of Springfield, through its’ Office of Housing.

- Pricing shall remain firm for a minimum of one hundred and eighty (180) calendar days after the opening of the bids.

- All work is to be completed within forty-five (45) calendar days from the date of the execution of the contract or the issuance of a Notice to Proceed.  If a contractor is awarded more than one property they will have an additional ten (10) days to complete demolition of each additional property. The Office of Housing director or his authorized representative may grant additional time in which to complete the work if an emergency arises.

- Payment by the Contractor of two-hundred fifty ($250) dollars for each and every calendar day the Contract extends beyond the stipulated time, as liquidated damages, is hereby agreed to. The City may, at its discretion and in writing, extend the time for completion of the work.

- The conditions of employment and minimum wage rates, as set forth by the Massachusetts Division of Occupational Safety shall prevail in the execution of the work under this contract.  The Wage Schedule is attached to these specifications.

- City reserves the right to reject any and all bids and will award each property on lowest qualified bid price.  The City awards the bid to the lowest qualified bidder. A building may be eliminated after contract award at the discretion of the Office of Housing due to unforeseen events, such as court action.

- Block plans can be seen at the Office of Planning & Economic Development, 70 Tapley Street, Springfield, MA 01104.

- The contractor shall, at the end of each working day, erect temporary fencing (as approved by the City of Springfield, Office of Housing) around each structure being demolished or deconstructed in order to protect public health and safety.  Snow fence shall be erected, utilizing temporary fence posts, and in a manner which provides the best possible protection of the public by restricting access to the structures being demolished or deconstructed.

- All demolition or deconstruction work shall be carried out in a systematic manner to ensure public safety and completion within the performance time specified.  All demolition or deconstruction work shall be conducted in accordance with applicable local, state and federal regulations.  The contractor is responsible for any and all measures to ensure the safety and protection of the public for the duration of the project.

- The contractor shall provide, keep and maintain barriers, fences, warning signs and lights and keep adjacent street clear of dirt, rubbish, ice, snow, and water for the safe and convenient passage of automobiles, delivery trucks and contractors.

- The Contractor shall provide the City a firm date for when demolition activity will begin within seven (7) business days of contract award. (e.g. 100 Any Street on May 11, 2007 at 9 a.m.). This information can be mailed to the Office of Disaster Recovery at 36 Court Street, 4th Floor, Room 412, Springfield, MA 01103.  The timetable can also be emailed to tquagliato@springfieldcityhall.com. The contractor is required to give forty eight (48) hours’ notice to the Office of Housing prior to the start of demolition work at any property.

- The contractor assents and fully understands that all bids are subject to appropriation.

- In the event that a contractor is unable to provide full and complete performance in accordance with all provisions of this invitation to bid and with all provisions contained in the contract agreement, said contractor may be disqualified from being awarded future bids.

###### INSTRUCTIONS TO BIDDERS – NOTICE TO BIDDERS – TERMS AND CONDITIONS

General

- The City of Springfield, acting through its Chief Procurement Officer, hereinafter called the Awarding Authority, will receive sealed General Bid Proposals for Demolition or deconstruction, until 2:00 P.M. May 15, 2014 at which time and place all bids will be publicly opened and read aloud in the Office of Procurement  Bid Room. No bids will be accepted after the time and date specified.

- A certified check, treasurer’s check, cashier’s check, or bid bond, made payable to the City of Springfield in the amount of 5% of the total dollar amount of bid must accompany each bid.

- To be given consideration, all General bids must be accompanied by:

- CERTIFICATIONS:

- Bid Form (completed & signed)

- Collusion or Fraud Statement

- Tax Certification Affidavit

- Debarment Disclosure Form

- DCAM Update Statement & Certificate of Eligibility

- EQUAL EMPLOYMENT OPPORTUNITY

- Minority/Women Business Enterprise Program (MWBE) – NOTE – All Bidders for the General Contract MUST COMPLETE and submit with the bid ALL DOCUMENTS list in the MWBE Checklist, Section “A” – Forms for General Bidder

- Any bids may be withdrawn prior to the respective time scheduled for the opening of such bids or authorized postponement thereof.  No bid may be withdrawn for one-hundred and eighty (180) calendar days after opening of the bids. No telephone or telegraphic bid, change in bid or withdrawal of bid will be received or recognized.

- A Performance Bond and Labor and Materials Payment Bond in the amount of 100% of the total dollar award is required of the successful bidder.  No bonds will be required in awards under $5,000.00.

- Any prospective bidder requesting a change in, or interpretation of, existing specifications or terms and conditions must do so within seven (7) business days (Saturdays, Sundays and holidays excluded) before scheduled bid opening date.  All requests are to be in writing.  No changes will be considered or any interpretation issued unless request is delivered to the Chief Procurement Officer, Lauren Stabilo, Office of Procurement, 36 Court Street, Room 307, Springfield, MA 01103 within 7 days (Saturdays, Sundays and holidays excluded) BEFORE scheduled bid opening date.

- Bids which are incomplete, not properly endorsed, or signed or otherwise contrary to these instructions will be rejected as informal by the Chief Procurement Officer.  CONDITIONAL BIDS WILL NOT BE ACCEPTED.

- By signing the bid, the Bidder certifies that no official or employee of the City of Springfield is pecuniarily interested in this proposal or in the contract which the bidder offers to execute or in expected profits to arise there from and that this bid is made in good faith without fraud or collusion or connection with any other person submitting a proposal.

- Bidding procedures will be in accordance with the General Laws, Chapter 149, Section 44A to 44L inclusive, as amended by Acts of 1956, Chapter 590, Acts of 1957, Chapters 692 and 771, Acts of 1960, Chapter 604, Acts of 1961, Chapter 579, Acts of 1980, Chapters 484, Acts of 1984 and other applicable laws.

- If mailed, General Bids should be sent to the Office of Procurement, 36 Court Street, Room 307, Springfield, MA 01103, Attention Lauren Stabilo, Chief Procurement Officer, and the outside of the envelope shall be clearly marked “General Bid for Demolition – Bid No. 14-243 in the lower left-hand corner.

DRAWINGS AND SPECFICATIONS

- General Bidders may obtain a complete set of specifications and bid package at the office of Procurement, 36 Court Street, Room 307, Springfield, MA 01103, beginning on April 30, 2014 between the hours of 8:30 A.M. and 4:00 P.M.

EXISTING CONDITIONS

- Before submitting a quotation, each bidder must make a careful study of these specifications and proposal and fully assure himself as to the quality of the materials and the character of the workmanship required.

- All bidders are required to submit their proposals upon the following express conditions, which shall apply to and become a part of every bid received.

- Bidders must satisfy themselves by personal examination of the property by any such means as they may desire as to the actual conditions and requirements of work.  Should bidder’s quotations be accepted he/she/they will be held responsible for any omissions, misunderstandings or error whether it results from their failure to do so or not.

- Bidders are required to inform themselves fully relative to conditions under which the work is to be performed, and the contractor must employ as far as possible such methods and means in the carrying out of his work as will not cause any interruption or interference with existing service and conditions.

- All work material must comply in every respect with the Public Building Laws, City Regulations and Massachusetts State Department of Public Safety Regulations.

PREPARATION OF GENERAL BIDS

- All bids must be on blank form for Bid Proposal annexed hereto, give the price for each item of work proposed, both in words and figures and must be signed by the bidder.

- All General bids must be accompanied by the Bidder’s Certificate of Eligibility (DCAM form CQ7) and an Update Statement (DCAM form CQ3) to be given consideration as well as a completed and signed Debarment Disclosure Form.

- BID SECURITY

- Each bid must be accompanied  by a Bid Bond or Certified Check, drawn on a national bank or trust company, for not less than five percent (5%) of the total dollar amount made payable to the “City of Springfield”.  Said security to be returned to the bidder unless forfeited under the conditions herein stipulated.  The security should be enclosed in the sealed envelope containing the bid.  Such security shall be returned to all except the three lowest, responsible and eligible bidders within five (5) days, Saturdays, Sundays and legal holidays excluded, after formal opening of the bids.

- The remaining security will be returned to the three lowest, eligible bidders within three (3) days after the Owner and accepted bidder have executed a General Contract.  If no contract has been so executed, the bid security will be returned at any time thereafter upon demand by the bidder so long as he has not been notified of the acceptance of his bid.

- If all bids are rejected, all bid securities will be returned forthwith.

- Bids may be withdrawn at any time prior to the designated time for the opening of bids.  No bid may be withdrawn within one-hundred and eighty (180) calendar days after the actual date of the opening thereof.

- If bid is withdrawn after the bid opening and prior to the one-hundred and eighty (180) calendar days the bidder shall forfeit deposit on bid as liquidated damages.

- The bidder shall agree to commence work within five (5) calendar days from the date of execution of the contract or issuance of the notice to proceed, and to substantially complete the work within forty- five (45) calendar days from the date of the Notice to Proceed.  If a contractor is awarded more than one property, they will have an additional ten (10) for each subsequent property.  For purposes of this invitation to bid, minimum action required to satisfy “commencement of work” within the initial five (5) day period provided shall include actions to disconnect utilities, DEP notices for asbestos removal, and/or starting the process of pulling permits for demolition.

- Payment by the Contractor of two-hundred fifty ($250) dollars for each and every calendar day the Contract extends beyond the stipulated time, as liquidated damages, is hereby agreed to. The City may, at its discretion and in writing, extend the time for completion of the work.

- The Awarding Authority may reject those informal bids which are incomplete, conditional or obscure, or which contain additions not called for, erasures not properly initialed, alterations or irregularities of any kind; or the Awarding Authority may waive such formalities.

- The Chief Procurement Officer, the Awarding Authority, reserves the right to reject any and/or all bids if it is in the public interest to do so.

SPECIAL JOB REQUIREMENTS

- All components, materials, parts and labor executed under this contract shall be warranted for a period of no less than one (1) year from the date of substantial completion, except warranties in excess of one (1) year that are required by the contract Documents.

GENERAL CONTRACT AWARD

- A Performance Bond and Labor and Materials Payment Bond in the amount of 100% of the total dollar award is required of the successful bidder.  No bonds will be required in awards under $5,000.00.

- The party to whom the Contract is awarded will be required to present forthwith the name of the surety company to be offered and to execute the contract and furnish a bond duly executed by a satisfactory surety company, within the limit stated in the proposal, after notification that the contract is ready for signature.

- If this bid shall be accepted by the Authority, and the bidder shall fail to contract as aforesaid and to give bonds in the amount as specified in Section 3, within five (5) days (Saturdays, Sundays and legal holidays excluded) after presentation by the Awarding Authority, the Authority may by option determine that the bidder has abandoned the contract and thereupon the proposal and acceptance shall be null and void and the bid security accompanying the proposal shall become the property of the Authority as liquidated damages.  After execution of the Contract and acceptance of the bond by the owner, the check or bid bond accompanying the proposal of the successful bidder shall be returned.

- The Contractor shall not be permitted to either assign or underlet the contract, nor assign either legally or equitably any monies hereunder, or its claim thereto without previous written consent of the City of Springfield Authority after presentation by the Awarding Authority.

ALTERNATES (If Any)

- All bidders shall include a price for each alternate.  The price given shall be total prices and shall include all costs for bonding, insurance, overhead, profit and any other costs.  If no change in the base bid is required enter “no change”.

ADDENDA AND INTERPRETATIONS

- No interpretations of the meaning of the Specifications and Bid Package will be made by any bidder orally.  Every request for such interpretation shall be in writing, addressed to Lauren Stabilo, Chief Procurement Officer, 36 Court Street, Room 307, Springfield, MA 01103, Phone (413)787-6290, FAX (413)787-6295, Email: lstabilo@springfieldcityhall.com  and, to be given consideration, must be received at least seven (7) days (May 8, 2014) prior to the date fixed for opening of the bids.

- Any and all interpretations and any supplemental instructions will be in the form of written addenda to the specifications and, if issued, will be sent to all prospective bidders at the respective addresses furnished for such purposes.  Failure of any bidder to receive any Addenda or interpretations shall not relieve such bidder from any obligations under his bid as submitted.

- All addenda so issued shall become part of the Specifications and Bid Package.

SITE INSPECTION

- The site will be open for inspection on May 7, 2014 for each of the following Properties at the sites, specific times: 259 Eastern Avenue, beginning at 10:00 A.M. -10:45 A.M., 43 Stebbins Street, beginning at 11:00 A.M. -11:45 A.M., 192-194 Quincy Street, beginning at 12:00 P.M. – 12:45 P.M., 187 Pine Street beginning at 1:00 P.M. – 1:45 P.M.  Bidders understand that the structural integrity of these structures has not been evaluated by the city and that the contractor agrees to indemnity and save harmless the City of Springfield, Massachusetts from and against any and all injuries, death, loss damage, suits, demands, liabilities and claims of any kind, nature or manner of, caused by, arising from, incident to or connected with my use and entrance into this or any abandoned/tax-title properties. Bidders may contact Tina Quagliato, Office of Housing, at (413) 787-6500.

MINORITY AND WOMEN BUSINESS ASSISTANCE REQUIREMENTS

- All bidders shall submit with their proposals and affirmative action plan, and all other required forms as set forth in the EEO section of the specifications.  These requirements are mandatory and shall not be waived.

- The City of Springfield Office of Procurement hereby requires all bidders show a good faith effort in providing opportunities to eligible, bona fide minority and women owned and controlled businesses.

- The Contractor shall supply the owner with the appropriate report forms that substantiate the Contractor’s compliance with the minority business contract requirements.

COMMUNITY DEVELOPMENT BLOCK GRANT – DISASTER RECOVERY (CDBG-DR)

- The properties are located throughout the Maple High-Six Corners neighborhood and the Old Hill Neighborhood.  Both areas were very heavily affected by the June 1, 2011 tornado and this Invitation for Bids (IFB) is an important piece of the City’s rebuilding process.

- All demolitions in this bid are being funded with Community Development Block Grant – Disaster Recovery (CDBG-DR) funds and all work completed by contractor  must be in accordance with the following:

- Springfield’s CDBG-DR Action Plan  (http://www3.springfield-ma.gov/planning/fileadmin/Planning_files/Community_Development/11-27-13_CDBG_DR_Action_Plan_FINAL.pdf)

- HUD Guidance in the March 5, 2013 Federal Register (FR-5696-N-01) (http://www.gpo.gov/fdsys/pkg/FR-2013-03-05/pdf/2013-05170.pdf)

- The Housing and Community Development Act of 1974, 42 USC 5301-5321.

- Contractors must not be subject to federal HUD debarment and must submit a certification to that effect.

SECTION 3 CLAUSE

- The work to be performed under this contract is subject to the requirements of section 3 of the Housing and Urban Development Act of 1968, as amended, 12 U.S.C. 1701u (section 3). The purpose of section 3 is to ensure that employment and other economic opportunities generated by HUD assistance or HUD-assisted projects covered by section 3, shall, to the greatest extent feasible, be directed to low- and very low-income persons, particularly persons who are recipients of HUD assistance for housing.

- The parties to this contract agree to comply with HUD's regulations in 24 CFR part 135, which implement section 3. As evidenced by their execution of this contract, the parties to this contract certify that they are under no contractual or other impediment that would prevent them from complying with the part 135 regulations.

- The contractor agrees to send to each labor organization or representative of workers with which the contractor has a collective bargaining agreement or other understanding, if any, a notice advising the labor organization or workers' representative of the contractor's commitments under this section 3 clause, and will post copies of the notice in conspicuous places at the work site where both employees and applicants for training and employment positions can see the notice. The notice shall describe the section 3 preference, shall set forth minimum number and job titles subject to hire, availability of apprenticeship and training positions, the qualifications for each; and the name and location of the person(s) taking applications for each of the positions; and the anticipated date the work shall begin.

- The contractor agrees to include this section 3 clause in every subcontract subject to compliance with regulations in 24 CFR part 135, and agrees to take appropriate action, as provided in an applicable provision of the subcontract or in this section 3 clause, upon a finding that the subcontractor is in violation of the regulations in 24 CFR part 135. The contractor will not subcontract with any subcontractor where the contractor has notice or knowledge that the subcontractor has been found in violation of the regulations in 24 CFR part 135.

- The contractor will certify that any vacant employment positions, including training positions, that are filled (1) after the contractor is selected but before the contract is executed, and (2) with persons other than those to whom the regulations of 24 CFR part 135 require employment opportunities to be directed, were not filled to circumvent the contractor's obligations under 24 CFR part 135.

- Noncompliance with HUD's regulations in 24 CFR part 135 may result in sanctions, termination of this contract for default, and debarment or suspension from future HUD assisted contracts.

- With respect to work performed in connection with section 3 covered Indian housing assistance, section 7(b) of the Indian Self-Determination and Education Assistance Act (25 U.S.C 450e) also applies to the work to be performed under this contract.  Section 7(b) requires that to the greatest extent feasible (i) preference and opportunities for training and employment shall be given to Indians, and (ii) preference in the award of contracts and subcontracts shall be given to Indian organizations and Indian-owned Economic Enterprises.  Parties to this contract that are subject to the provisions of section 3 and section 7(b) agree to comply with section 3 to the maximum extent feasible, but not in derogation of compliance with section 7(b).

PREVAILING WAGE RATES / DAVIS BACON WAGE RATES

- The conditions of employment and minimum wage rates as set forth by the Massachusetts Division of Occupational Safety and the United States Department of Labor, shall prevail in the execution of the work under the contract.  The contractor will be required to pay the higher of the two wage rates for all applicable position.  Both State and Federal Wage Rate Schedules are contained in the Specifications.

- In the employment of mechanics and apprentices, teamsters, chauffeurs and laborers in the construction of public works by the Commonwealth, or by the County, Town or District, or by persons contracting or subcontracting for such works (preference shall be given first to citizens of the Commonwealth who have been residents of the Commonwealth for at least six months) at the commencement of their employment who are veterans as defined in clause forty-third of section seven of chapter four, and who are qualified to perform the work to which the employment relates; and secondly, to citizens of the Commonwealth generally who have been residents of the Commonwealth for at least six months at the commencement of their employment, and if they cannot be obtained in sufficient numbers, then to citizens of the United States, and every contract for such public work shall contain a provision to this effect.  Each County, Town or District in the construction of public works, or persons contracting or subcontracting for such works, shall give preference to veterans and citizens who are residents of such Town, County, or District.

INSURANCE

- The Contractor will be required to indemnify and save harmless the City of Springfield and their Consultants from all bodily injury and property damages that may occur due to his negligence or that of his employees, subcontractors, etc., during work under this contract, or all extra work covered by this contract in accordance with the following insurance policy limitations:

- Prior to Contract execution by the successful Bidder the Contractor shall secure and maintain for the duration of the project Comprehensive General Liability for bodily injury and property damage with a $2,000,000.00 total each occurrence/aggregate limit that excludes pollution hazards.  This should be written on an ISO Occurrence Form 1993 edition or later.  The Contractor and/or a subcontractor shall also secure and maintain a Contractor’s Professional Pollution Liability policy for bodily injury and property damage with a $1,000,000.00 total limit that includes pollution hazards covering:  premise/operations, underground explosion and collapse hazard, products/completed operations, contractual, independent contractors, broad form property damage and personal injury.

The Contractor shall secure and maintain an umbrella excess liability insurance policy providing limits of not less than $3,000,000.00 each occurrence/aggregate, excess of the commercial general liability policy specified above as well as Contractor’s Professional Pollution Liability.

The General Contractor and all subcontractors are required to carry Workmen’s Compensation insurance.

All policies of liability insurance shall include the City of Springfield, City National Bank and CRE Management, LLC., as named additional insured.  Prior to Contract Execution by the successful bidder, the Contractor shall submit a certificate of insurance and a copy of the insurance policy.

- Subcontractor’s Public Liability and Property Damage Insurance

The Contractor shall require each of his subcontractors to procure and maintain during the life of the subcontract, Subcontractor’s Public Liability Insurance, including bodily injury, and Property Damage.

The Contractor shall require each of his subcontractors to provide and maintain during the life of the subcontract, workmen’s compensation insurance, pursuant to MGL c.152.

- Prior to starting work on this contract, the Contractor shall deposit with the Authority’s Chief Procurement Officer certificate’s from the insurers to the effect that the insurance policies required in the above paragraph have been issued to the Contractor.  The certificate must be on a form satisfactory to the Authority’s Chief Procurement Officer.

- The Contractor shall carry public liability insurance with an insurance company satisfactory to the City of Springfield so as to save the Authority harmless from any and all claims for damages arising out of bodily injury to or death of any person or persons, and for all claims for damages arising out of injury or destruction of property caused by accident resulting from the use of implements, equipment or labor used in the performance of the contract or from any neglect, default or omission, or want of proper care, or misconduct on the part of the contractor or for any one in his employ during execution of the work.

- Except and otherwise stated herein, the Contractor shall also carry bodily injury and property damage insurance in amounts not less than those set forth above covering the operation of all motor powered vehicles owned or operated by the Contractor and engaged in this work.

- No cancellation of any insurance whether by the insurer or by the insured shall be effective unless written notice thereof is given to the Authority at least thirty days prior to the intended effective date thereof, which date has been expressed in the notice.  Prior to the effective date of any such cancellation the Contractor shall take out new insurance to cover the policies so canceled. The insurance companies shall remain liable however, until new and satisfactory insurance policies have been delivered to and accepted by the Authority.

- The Contractor shall, before commencing work, provide by insurance for payment of Workmen’s Compensation and the furnishings of other benefits under Chapter 152 of the General Laws (Ter. Ed.) to all persons employed under the contract, and he shall continue such insurance in force and effect during the term thereof.

ASBESTOS

- Pursuant to MGL c.149, §44D(10), a General Contractor who subcontracts the asbestos removal work must certify in writing to the awarding authority that if awarded the contract, the General Contractor will subcontract the work involving removal, containment, or encapsulation of asbestos or material containing asbestos to a subcontractor who is licensed under MGL c. 149 §6B.  Refer to Section 02080 – Attachment A of this RFP for the “Asbestos and Environmental Report” for specific abatement requirements.

- In no event shall any public contract involving the removal, containment, or encapsulation or asbestos or material containing asbestos be performed by anyone other than the General Contractor or Subcontractor licensed to perform such work.

MISCELLANEOUS

- The City of Springfield is exempt from the payment of Federal Excise Tax.  Prices quoted herein are not to include these taxes.

- The right is reserved to make changes in the work without affecting the validity of the contract, the value of such alteration to be added or taken away from the contract prices as provided for in the agreement.  Any additional compensation will be allowed only after price agreement and authorization by the Awarding Authority.

- No alterations shall be made in the work described by the specifications except upon written order of the Awarding Authority and when so made the value of the work added or omitted shall be computed and the amount so ascertained shall be added or deducted from the contract price.

- The Contractor is to give proper authorities notice relating to the work, obtain official permits when required and pay all proper fees for the same.

- All materials used shall be of the very best quality of their respective kinds and all of the work performed shall be executed in the most skillful and workmanlike manner and both materials under and work performed shall, in every respect, meet the complete satisfaction of the Chief Procurement Officer or his authorized agent.  The bidder to whom a contract is awarded guarantees to the City of Springfield all equipment, materials and/or workmanship for a period or one (1) year after the final inspection and acceptance and shall replace promptly any defective equipment, materials and/or workmanship required without additional cost to the Authority.

- The premises shall be kept clean and free from debris throughout the entire duration of work at the site.  Upon completion of work, all rubbish and surplus materials then remaining in or about the building or grounds shall be removed promptly, leaving the premises in perfect and proper condition.

- The Contractor shall be responsible for all materials delivered in connection with this work, and shall pay all charges for the cartage, scaffolding, planking, and erecting materials and replace all materials and apparatus which may become damaged or stolen before final acceptance of work.

- If in the judgment of the Chief Procurement Officer any property is needlessly damaged by an act or omission of the contractor or his employees, servants or agents, the amount of such damages shall be determined by the Chief Procurement Officer of the City of Springfield and such amount shall be deducted from any money due the contractor or may be recovered from said contractor in actions at law.

- It is agreed that deliveries and/or completion are subject to strikes, lockouts, accidents and acts of God.

DEMOLITION SCHEDULE

April 30, 2014			Bid Packages available for pick-up

April 30, 2014			Published in Republican & Central Register

May 7, 2014			Site Inspection Schedule

259 Eastern Avenue: 	10:00 A.M.-10:45 A.M.

43 Stebbins Street:	 11:00 A.M.-11:45 A.M.

192-194 Quincy Street:	 12:00 P.M.-12:45 P.M.

187 Pine Street:		 1:00 P.M.-1:45 P.M.

May 15, 2014	Proposals Due – 2:00 P.M.

Office of Procurement

City of Springfield

36 Court Street- Room 307

Springfield, MA 01103

Attn: Lauren Stabilo, Chief Procurement Officer

May, 2014			Proposals Reviewed

May, 2014			Contract Awarded

BID FORM

DEMOLITION OF PROPERTIES

Bid No.14-243	Opening Date: May 15, 2014

- The undersigned proposes to furnish all labor and materials required for the demolition or deconstruction of the below referenced properties, in Springfield, Massachusetts, in accordance with the accompanying specifications prepared by the City of Springfield, Office of Disaster Recovery for the contract price specified below, subject to additions and deductions according to the terms of the specifications.

- This bid included addenda numbered _______, ________, ________, ________.

- The contract will be awarded to the lowest qualified bidder.  The City reserves the right to award properties individually.  Please insert bids below:

259 Eastern Avenue		$____________________________________

187 Pine Street			$____________________________________

192-194 Quincy Street		$____________________________________

43 Stebbins Street		$____________________________________

# Total Proposed Price for

# Demolition of All Properties:		$____________________________________

- The undersigned as bidder declares that the only persons or parties interested in this proposal as principles are those named therein; that this proposal is made with out collusion with any other firm; that the undersigned has carefully examined the location of the proposed work, that proposed form of contract and the plans and specifications therein referred to; and the undersigned proposes and agrees if this proposal is accepted that he will contract with the awarding authority to provide all necessary machinery, tools, apparatus and other means of construction to do all work and furnish all materials specified in the contract in the manner and time therein described and according to the City’s requirements therein set forth.

- The undersigned agrees that if he is selected as General Contractor, he will within five days, Saturdays, Sundays and legal holidays, excluded, after presentation thereof by Awarding Authority, execute a Contract in accordance with the terms of this bid and furnish a Performance Bond and also a Labor & Materials or Payment Bond, each of a surety company qualified to do business under the laws of the Commonwealth and satisfactory to the Awarding Authority and each in the sum of 100% of the contract price, the premiums for which are to be paid by the General Contractor and are included  in the contract price.

- The undersigned hereby agrees that all work is to be completed within forty five (45) calendar days from the date of the execution of the contract or the issuance of a Notice to Proceed. The Office of Housing director or her authorized representative may grant additional time in which to complete the work if an emergency arises. Payment by the Contractor of two-hundred fifty ($250) dollars for each and every calendar day the Contract extends beyond the stipulated time, as liquidated damages, is hereby agreed to. The City may, at its discretion and in writing, extend the time for completion of the work.

- The undersigned hereby certified that he/she is able to furnish labor that can work in harmony with all other elements of labor employed or to be employed on the work and that he/she will comply fully with all laws and regulations applicable to the awards made subject to section forty-four A.

- The undersigned further certifies under the penalties of perjury that this bid in all respects bona fide, fair and made without collusion or fraud with any other person.  As used in this subsection, the “person” shall mean any natural person, joint venture, partnership, corporation, or other business or legal entity.

- The undersigned certified under penalties of perjury that the said undersigned is not presently debarred from doing public construction work in the commonwealth under the provisions of section twenty-nine F of chapter 29, or any other applicable debarment provisions of any other chapter of the General laws or any rule or regulations promulgated there under.

Date: ________/________/___________

__________________________________________________

(Name of General Bidder)

By: _______________________________________________

(Name of Person Signing Bid & Title)

By:________________________________________________

(Signature of Person Signing Bid)

_____________________________________________________________________

(Business Address)

_____________________________________________________________________

(City)                                          (State)                                            (Zip Code)

(_______)_________-_______________		(_______)__________-______________

(Business Phone)						(Fax)

- If a corporation, it must be signed and sealed by a duly authorized officer.

- If a partnership, so state, and give names and residential addresses of all partners.

- If an individual, so state, and give residential address if different from business address and sign.

City of Springfield, Massachusetts

Office of Procurement

# MANDATORY SUBMISSION REQUIREMENTS

Proposals shall be typewritten or written in ink on the enclosed forms.  Officials of Corporations shall designate their official titles.  Partners or Sole Owners shall so state, giving names of all interested Parties.  Bid must be submitted in a sealed container and shall be guaranteed for One Hundred and Eighty (180) days.  Bidder shall not base Proposals on verbal information from any employee of the City.  The City reserves the right to reject any or all bids.

Invitation to Bid For: Services: Demolition/Deconstruction of Various Properties

City of Springfield, Massachusetts (list below)

- 259 Eastern Avenue

- 43 Stebbins Street

- 192-194 Quincy Street

- 187 Pine Street

Bid No. 14-243

Dept.: Office of Housing

Opening Date: May 15, 2014

Office of Procurement Submission Requirement Checklist

Bids must be received on or before the due date and must include the following, signed, & notarized as required:  Failure to submit the following is cause for immediate REJECTION.

__________(1) Complete and Signed Bid Form (pages 1 – 2).

__________(2) Non-Collusion Statement

__________(3) Tax Certification Affidavit Signed & Notarized

__________(4) Affirmative Action Form, completed and signed

__________(5) Debarment Disclosure Form

__________(6) Bid Bond in the amount of 5% of bid

__________(7) DCAM Update Statement & Certificate of Eligibility

__________(8) Receipt of all addenda if issued.

_________ (9) Submit One (1) Original and One (1) Copy of Bid Proposal

__________ (10) All other documents as requested in specifications of bid.

Questions regarding the bid must be directed in writing to the Chief Procurement Officer no later than close of business on May 8, 2014.  All communications should include reference to the bid number and opening date.  Facsimile communications are acceptable.

SECTION 02080

ASBESTOS ABATEMENT

PART I - GENERAL

1.01	GENERAL PROVISIONS

A.	Drawings and general provisions of the Contract, including General and Supplementary Conditions apply to this Section.

B.	Equality of material, article, assembly or system other than those named or described in this Section shall be determined in accordance with the provisions of the CONTRACT AND GENERAL CONDITIONS.

C.	The Asbestos Abatement Contractor shall refer to other Sections of the Specifications for work, which may impact the sequence, or the work of this Section.  Examine all Drawings and all other Sections of the Specifications for requirements of related sections affecting the work of this Section.

D.	The Owner shall not incur any additional costs due to negligence or regulatory requirements imposed upon this project due to the Asbestos Abatement Contractor failing to abide by the requirements of the specifications and applicable regulations.

1.02	DEFINITIONS

A.	The following definitions shall be applicable to this Section:

“Site”:  Refers to the demolition and site restoration of each specified building under this Request for Proposal as per the specifications and drawings herein.

“Owner":  Refers to the City of Springfield and their designated, authorized personnel.

“Consultant”:  Refers to Cardno ATC, 73 William Franks Drive, West Springfield, Massachusetts and their designated, authorized personnel.

“General Contractor”: Refers to the Contractor who has been awarded the overall contract for demolition work outlined by the Contract Documents.

"Asbestos Abatement Contractor":  Refers to the Contractor who is performing asbestos abatement work as outlined by this Section.

1.03	GENERAL REQUIREMENTS/QUALIFICATIONS

A.	All Asbestos Abatement work referenced herein shall be performed by a Massachusetts licensed Asbestos Abatement Contractor in accordance with Massachusetts Department of Labor Standards (DLS) 453 CMR 6.0 Regulations.

B. 	Qualifications of Asbestos Abatement Contractor

- Asbestos Abatement Contractor performing the abatement work of this section ("Asbestos Abatement Contractor") shall be an Asbestos Abatement Contractor licensed to perform asbestos operations in the State of Massachusetts.  Asbestos Abatement Contractor shall submit license number and proof of licensure.

- The Asbestos Abatement Contractor shall also provide the project name, contact person and phone number of three (3) projects which were successfully completed of similar size and scope within the last two (2) years.  Each project shall have been completed in good standing and the work performed by the Asbestos Abatement Contractor for each project resulted in no work violations/citations, contract delays, contract extensions/disputes or litigation.  Failure to provide this information and/or meet the approval of these qualifications by the Owner may result in rejection of the Asbestos Abatement Contractor.

- The Owner or Consultant shall also reserve the right to research and utilized other information received from any other projects completed by the Asbestos Abatement Contractor not provided under 1.03 B (2) above, regardless of the date completed, location or circumstances resulting from the outcome of their work.  The Owner shall reserve their right to reject the Asbestos Abatement Contractor based upon this review, for any reason, if found to be in the best interest of the Owner.

NOTE:		The Asbestos Abatement Contractor shall not be authorized to begin work until all credentials outlined above are reviewed and approved by the Owner.

1.04	DESCRIPTION OF WORK

A.	Work:  This section details all areas where asbestos abatement work is to be performed and lists areas requiring special protection during the abatement work.  The Asbestos Abatement Contractor shall furnish all labor, materials, services, training, insurance, and equipment as needed to complete removal of asbestos-containing and asbestos-contaminated materials located as indicated below.  The Asbestos Abatement Contractor shall follow all Federal, State and local ordinances, regulations and rules pertaining to asbestos, including its abatement, storage, transportation and disposal.

B.	The Asbestos Abatement Contractor shall be responsible for verifying all quantity estimates in preparation of their bids, including the location and conditions of all asbestos-containing materials to be abated under this contract.  No additional compensation and/or contract time shall be granted to the Asbestos Abatement Contractor for failure to perform this requirement and no compensation shall be granted for variations in any of the quantities presented herein.  Full access to the site has been granted during the bidding process for this purpose.

C.	The following requirements shall be applicable for asbestos abatement work at the site.  If a specific note for an abatement procedure or requirement is not mentioned herein, the Asbestos Abatement Contractor shall perform the removal of such material in accordance with local, state and federal regulations.

1.	All Asbestos Abatement work shall take place in accordance with the provisions outlined herein as well as current local, state and federal regulations.  No additional compensation shall be granted to the Asbestos Abatement Contractor for compliance with applicable laws when performing the abatement work at the site.  This shall include any regulatory requirements that mandate additional or more restrictive containment and abatement procedures than what has been presented herein.

- The Asbestos Abatement Contractor shall coordinate with the General Contractor as to the locations of areas to be abated in accordance with the Scope of Work outlined herein.

- The Asbestos Abatement Contractor shall be responsible for all demolition work required to properly access all asbestos materials for abatement.

- The following requirements shall be applicable for abatement of all pipe insulation at the site:

- The Asbestos Abatement Contractor shall be required to perform all wall, ceiling and floor demolition required to access pipe insulation specified for abatement herein.  All demolition work shall take place under full containment and all demolition debris shall be disposed of as asbestos waste (unless otherwise determined by Cardno ATC).

- With regards to fitting abatement, removal shall include the asbestos-containing fitting as well as six (6) inches of fiberglass insulation from each side of the fitting being abated.

- Reinsulation of abated piping shall not be required.

5.	The following requirements shall be applicable for abated of all flooring materials at the site:

- Removal of existing floor tile/mastic and linoleum/backing material shall include all layers of such materials (including glue/levelastic, grout, etc.) down to the existing subfloor or concrete.  This shall also include underlying multiple layers of such materials as well as all plywood stained with mastic/backing.

- The Asbestos Abatement Contractor shall remove all material by manual and/or mechanical means.

6.	The following requirements shall be applicable for abatement of all interior/exterior caulking or glazing compound at the site:

- Removal of the interior/exterior caulking or glazing compound located on the windows and doors shall include removal and disposal of the entire component (i.e. window, door, etc.) as part of the abatement process.

- This shall also include all underlying caulking, mastic, glazing compound and overruns present on the components, underneath the components or on adjacent substrates.

- In addition, caulking may be present on the brick/masonry windowsill and building envelope that is required to be removed as well.

- All removal shall take place under containment as required by MADEP and MADLS Regulations.

7. 	The following requirements shall be applicable for abatement of all boiler units at the site:

- The Scope of Work includes the removal and disposal of all asbestos-containing materials located on the exterior and interior portions of each boiler.  Removal shall include, but is not limited to rope, packing insulation, gaskets, firebrick, soot/debris, piping, wall parging, caulking, mastic etc.  The Asbestos Abatement Contractor shall be required to demolish each boiler unit under containment to access all asbestos-containing materials.  All fiberglass and permeable items that result from demolition activities shall be removed and disposed as asbestos materials.  All non-permeable items (i.e. metal jacket, ribs, etc.) may be properly decontaminated and passed out of the area and disposed of as non-asbestos waste at the approval of the Owner's Consultant.

- The Asbestos Abatement Contractor shall also be made aware that heavy metals may exist within the soot/debris located inside the boiler units and breaching.  The Asbestos Abatement Contractor shall be responsible for proper testing of such material to determine: (1) appropriate waste disposal requirements; and (2) appropriate worker protection to be employed during the work.  All costs associated with the testing and required PPE for handling this material shall be borne by the Asbestos Abatement Contractor.  All analytical results shall be reviewed and approved by the Owner's Consultant.  In addition, the Asbestos Abatement Contractor shall be responsible for all costs associated with proper collection and disposal of all material (whether hazardous or non-hazardous) and a waste manifest/shipment record shall be provided to the Owner.

8.	The following requirements shall be applicable for abatement of all work areas that may be considered a Confined Space under OSHA Regulations.  This shall include, but not be limited to work in the wall chases, boiler units etc.

- It shall be the Asbestos Abatement Contractors responsibility to determine the requirements for confined space entry at all locations and comply with all aspects of OSHA's Confined Space Regulations.  A copy of the Asbestos Abatement Contractor’s Confined Space Program, training certificates and site-specific monitoring/permitting protocol shall be provided to the Consultant for review and approval prior to commencement of the work.

9.	The following requirements shall be applicable for abatement of glue-daubs:

- Removal of the glue daubs behind ceiling tiles/wallboards/chalkboards shall include the  glue daubs and any residual material from the wall substrate.  If the material has been applied to a wood substrate, the Asbestos Abatement Contractor shall remove the wood substrate as well and dispose of as ACM.  Removal shall also any residual daubs located on the chalkboard/bulletin board itself.  In the event the residual daub material cannot be removed from the ceiling tiles/ chalkboard/bulletin board to the satisfaction of the Owner's Consultant, the entire board(s) shall be removed and disposed as asbestos.

10.	Site Specific Scope of Work: The Asbestos Abatement Contractor shall refer to Attachment A of this Section for the “Asbestos and Environmental Report” performed by the Owner that outlines a summary of items requiring abatement at each site.

1.05	ALTERNATES

Refer to the Instruction to Bidders.

1.06	SUBMITTALS

  - In addition to items required by other sections of the Project Manual, the following submittals are required for review and approval by the Owner on/or before the Pre-Construction Meeting:

1.	Copy of Massachusetts DLWD Asbestos Abatement Contractor's License

2.	Copies of certifications, notifications and all applicable licenses

3.	Chain-Of-Command list of all personnel on-site and emergency contact person(s)

4.	Work plan which dictates all removal procedures to be implemented and projected schedule of completion.

B.	In addition to the items required by other sections of the Project Manual, the following submittals are required for final payment

1.	Copy of Waste Shipment Records

1.07	CODES AND STANDARDS

A.	All work shall conform to the standards set by applicable Federal, State and local laws, regulations, ordinances, and guidelines in such form in which they exist at the time of the work on the contract, and as may be required by subsequent regulations.  In addition to any detailed requirements of the Specification, the Asbestos Abatement Contractor shall at his own cost and expense comply with all laws, ordinances, rules and regulations of Federal, State, Regional and Local Authorities regarding handling and storing of asbestos waste material.  This includes all applicable OSHA regulations.

B.	All regulations and other governing agencies in their most current version are applicable throughout this project.  Where there is a conflict between this Specification and the cited State, Federal, or local regulations, the more restrictive or stringent requirements shall prevail.  This Section refers to many requirements found in these references, but in no way is it intended to cite or reiterate all provisions therein or elsewhere.  It is the Asbestos Abatement Contractor's responsibility to know, understand, and abide by all such regulations and common practices.

1.08	FEES, PERMITS & LICENSES

A.	The Asbestos Abatement Contractor shall pay all licensing fees, royalties, and other costs necessary for the use of any copyrighted or patented product, design, invention, or process in the performance of the work specified in this section.  The Asbestos Abatement Contractor shall be solely responsible for costs, damages, or losses resulting from any infringement of these patent rights or copyrights. The Asbestos Abatement Contractor shall hold the Owner and Consultant harmless from any costs, damages, and losses resulting from any infringement of these patent rights or copyrights. If the Contract Specification requests the use of any product, design, invention, or process that requires a licensing, patent or royalty fee for use in the performance of the job, the Asbestos Abatement Contractor shall be responsible for the fee or royalty fee and shall disclose the existence of such rights.

B.	Asbestos Abatement Contractor shall be responsible for costs for all licensing requirements, where applicable and notification requirements and all other fees related to the Asbestos Abatement Contractors ability to perform the work in this Section.

C.	Secure all necessary permits for work under this Section, including hauling, removal, and disposal, fire, and materials usage, or any other permits required to perform the specified work.

1.09	CLEANING

A.	Maintain the work site in a neat and orderly manner at all times, so as not to interrupt or infringe upon the work of other trades.  Perform all final cleaning of abatement work areas as required by this Section and Massachusetts Regulations to the approval of the Owner’s Consultant.  Upon completion of work in any given area, Asbestos Abatement Contractor shall remove all material and equipment associated with the work, not necessary to complete other phases of the work in that area.

B. 	Comply with all requirements for final clearance and release of a work area as described in this Section and required by the Massachusetts Regulations prior to take down of polyethylene and area clean-up.

1.10	COORDINATION

A.	Extend full cooperation to Owner in all matters involving the use of Owner's facilities.  At no time shall the Asbestos Abatement Contractor cause or allow to be caused conditions, which may cause risk or hazard to the general public, or conditions that might impair safe use of the facility.

B.	Coordinate the work of this section with that of all other trades as directed by the General Contractor and at the express consent of the Owner.  Phasing and scheduling of this project will be subject to the approval of the Owner.  The work of this Section shall be scheduled and performed so as not to impede the progress of the project as a whole.  Work shall not proceed in any area without the express consent of the Owner.  The Asbestos Abatement Contractor shall be available within 24 hours notice for additional work if after acceptance of the work it is found that full abatement was not achieved from the initial work effort as determined by the Owner or Consultant.

C.	Complete Asbestos activities in the phases of the final schedule agreed upon by Owner.

1.11	SUBSTITUTION OF MATERIALS OR METHODS

A.	Owner and Consultant approval is required for all modifications to methods, procedures, and design, which may be proposed by the Asbestos Abatement Contractor.  It is the intent of these documents to allow the Asbestos Abatement Contractor to present alternative methods to the abatement processes herein, for review by Owner and Consultant.  Any such modifications or substitutions to methods, procedures, or design shall comply with applicable regulations.  Asbestos Abatement Contractor shall submit the proposed modification or substitution in accordance with the requirements of the General Conditions, and no later than fifteen (15) working days prior to planned commencement of proposed modification, for review and approval.

B.	Unless requests for modification or substitution are made in accordance with the above instructions and the instruction of the General Conditions, supported by sufficient proof of equality, Asbestos Abatement Contractor shall be required to furnish the specifically named or designed items, methods or procedures designated in this Section.

C.	If the modification or substitution necessitates changes or additional work, same shall be provided and the Asbestos Abatement Contractor shall assume the cost and the entire responsibility thereto unless performed under the approved Change Order Process.

D.	The Owner and Consultant's permission to make such substitution shall not relieve the Asbestos Abatement Contractor from full responsibility for the work.

1.12	SITE SECURITY

A.	The Asbestos Abatement Contractor is responsible for performing all work under this contract without contaminating the building environment with asbestos fibers.  This includes interior areas, outside containment locations, machinery and equipment and any other release into unregulated spaces.  The Asbestos Abatement Contractor is responsible for making right and clean-up of any such contamination if found to be present.

B.	The Asbestos Abatement Contractor will be responsible for the security of the abatement area, allowing only authorized personnel into the area, and securing assigned entrances and exits with locked doorway's at the end of the work day.  Signs will be posted prior to asbestos removal as required in 29 CFR 1926.1101.

1.13	PROJECT MONITOR

A.	The Owner has retained Cardno ATC as their Consultant for the technical advisement and project management during the Project.  In addition, Cardno ATC will perform project monitoring services during abatement activities.  The Contractor shall regard Cardno ATC’s direction, as authoritative and binding as provided herein, in matters outlined by this Section.

B.	Cardno ATC’s licensed Project Monitor, acting as the Owner’s Representative, will perform monitoring of Contractor work practices and performance, inspection of the worksites, and air sampling and analysis for each phase of the asbestos removal project.  Quality control and testing criteria has been established in these specifications, and will be strictly enforced.  Cardno ATC’s Project Monitor will review matters relating to safety, interpretation of the specifications, and scheduling of work, and will make decisions upon consultation with the Owner.

1.14	TEMPORARY FACILITIES

A.	Use of Owner provided facilities is specified in Division 1 and shall be coordinated through the Owner.

PART II - PRODUCTS

2.01	MATERIALS

All materials and equipment proposed to be used on this project shall be subject to the acceptance of the Owner and Consultant.  The Asbestos Abatement Contractor shall comply with local, state and federal regulations pertaining to the selection and use of materials and equipment on this project.  The Asbestos Abatement Contractor shall provide a submittal on all materials and equipment to be used for review and approval by the Consultant prior to commencement of the work.

PART III - EXECUTION

3.01	WORK PROCEDURES

A.	All asbestos abatement work shall take place in accordance with the provisions outlined herein as well as local, state and federal regulations.  In particular, Massachusetts MADLS and MADEP regulations regarding asbestos removal and disposal shall be adhered to.

B.	Visual Inspections:  Work areas shall pass a visual inspection conducted by the Site Supervisor responsible for the project and the Owner's Project Monitor (i.e. Consultant).  The criterion for this inspection will be the absence of visible debris in accordance with ASTM standard E1368-90.   A certificate of visual inspection will be signed by the Project Monitor and the Site Supervisor after final inspection clearance.   The Contractor will be responsible for the costs of visual inspection and testing required for any work which fails clearance air quality criteria.

3.02	DISPOSAL

A.	Packaging:  Prior to post-abatement inspection, asbestos- containing waste shall be packaged in sealed double containers and removed from the work area to a specified transportation vehicle or a designated holding area approved by the Owner.   At the end of each work day the Asbestos Abatement Contractor shall remove the debris accumulated during that days work activities using procedures outlined in the Specifications.  The Asbestos Abatement Contractor shall provide a daily tally of all bags removed.

- Temporary Storage of Waste:  An area for temporary storage of asbestos waste must be approved by the Owner.  Asbestos waste may only be stored in a restricted area and must be in an enclosed container which is posted and secured whenever not in use.  Asbestos waste material shall be loaded into a waste transportation vehicle/dumpster and hauled away as soon as there is a sufficient quantity available for direct transportation to the approved disposal site.

C.	OSHA/EPA labeling:  Asbestos warning labels having permanent adhesive and waterproof print, or being permanently printed on the container, shall be affixed to the outside of all asbestos containers, and each inside bag, except that nonfriable asbestos-containing waste that has not been and does not have a high probability of becoming, crumbled, pulverized, or reduced to powder need not be labeled. Labels will be conspicuous and legible and shall contain the following warning:

DANGER

CONTAINS ASBESTOS FIBERS

AVOID CREATING DUST

CANCER AND LUNG DISEASE HAZARD

The Asbestos Abatement Contractor is directed to properly label each waste bag in accordance with the latest NESHAP standard, Section 61.150, with the following information:

SITE OWNER'S NAME

SITE NAME

D.	DOT labeling and marking:  A DOT "class 9" shipping label and DOT mark shall be applied to or be printed on each packaging of asbestos-containing materials; except for nonfriable asbestos-containing materials that did not become crumbled, pulverized, or reduced to powder; or a limited quantity of asbestos-containing material which is not being transported by air.

E.	EPA vehicle marking:  Each vehicle transporting asbestos-containing waste shall be marked with asbestos danger signs during loading and unloading of the waste, in accordance with the NESHAP, 40 CFR 61.150.

F.	Asbestos waste shipment records:  The Asbestos Abatement Contractor shall prepare the waste shipment records. Completed waste shipment record(s) signed by the Asbestos Abatement Contractor, all transporter(s), transferor(s), disposal and/or conversion facility(s), shall be provided to the Owner within 30 days of the time at which the asbestos-containing wastes are received at the disposal and/or conversion facility(ies), which shall be no longer than 40 days after the waste was accepted by the initial transporter.  The Waste Shipment Record shall specify the designating number of bags or cubic yard(s) of asbestos waste.

G.	Depositing:  Asbestos waste shall be deposited as soon as practical at a regulated waste disposal site, except for EPA "Category I" nonfriable ACM that has not become friable, nor will be or has been sanded, ground, cut, or abraded.  Waste disposal sites for asbestos materials will be in accordance with 40 CFR 61.25, Waste Disposal Sites.  The Contractor shall provide written evidence that the site is approved for asbestos disposal by the EPA, State and local regulatory agencies.

3.03	QUALITY CONTROL AND TESTING

A.	The Asbestos Abatement Contractor shall be responsible for achieving acceptable visual and final air clearance testing for ALL abatement areas as follows:

- Clearance inspection:  Cardno ATC’s Project Monitor shall inspect the work area and surrounding areas for clearance using visual and physical methods, prior to clearing the project for air monitoring clearance procedures.

- Post-abatement Clearance Air Monitoring: For each abatement areas, post abatement clearance air samples will be taken when a visual inspection by Cardno ATC’s Project Monitor detects no visible debris, and surfaces are encapsulated and dry.  Phase Contrast Microscopy (PCM) clearance testing will be performed to confirm the completion of removal.  All clearance testing shall be performed in accordance with state of Massachusetts Regulations.  The work areas shall be considered complete if the following criteria is met:

1.	Containment’s cleared and samples analyzed by Phase Contrast Microscopy (PCM):  Maximum airborne fiber concentration of <0.01 fibers per cubic centimeter for each sample.

Note:	Should the visual inspection fail, the Asbestos Abatement Contractor shall reclean the entire work at no additional cost to Owner, utilizing the methods specified in this section.  The Asbestos Abatement Contractor shall pay for all additional visual inspections until clearance is achieved as per this Section.  The cost of additional inspections shall be paid by the Asbestos Abatement Contractor by subtracting the cost for analysis and inspector's time from the Contract total.

ATTACHMENT A

ASBESTOS AND ENVIRONMENTAL REPORT

INSERT REPORT HERE

END OF SECTION

SECTION 02081

DISTURBANCE OF LEAD-CONTAINING MATERIALS

PART I - GENERAL

1.1	GENERAL PROVISIONS

A.	Drawings and general provisions of the Contract, including General and Supplementary Conditions and Division I Specification Sections, apply to this Section.

1.2	DEFINITIONS

- The following definitions shall be applicable to this Section:

“Site”:  Refers to the demolition and site restoration of each specified building under this Request for Proposal as per the specifications and drawings herein.

“Owner":  Refers to the City of Springfield and their designated, authorized personnel.

“Consultant”:  Refers to Cardno ATC, 73 William Franks Drive, West Springfield, Massachusetts and their designated, authorized personnel.

“General Contractor”: Refers to the Contractor who has been awarded the overall contract for demolition work outlined by the Contract Documents.  All references to General Contractor shall also mean all subcontractors who work on the project.

1.3	DESCRIPTION OF WORK

- The General Contractor shall be made aware that lead-containing paint may be present on several components located throughout  the site(s) which will be impacted by demolition activities on this project.  However, lead abatement of these components shall not be required for performance of the renovation and/or demolition work outlined therein.

Note:		The buildings are not considered a residence where children under the age of six (6) reside, therefore, abatement of lead-containing components will not be required as per Massachusetts Department of Public Health (DPH) "Child Lead Poisoning and Prevention Regulations.   However, if the Contractor deems that removal of the lead paint will be an appropriate "engineering control" for compliance with their OSHA program, then such removal shall be performed at the Contractor's own expense in accordance with applicable requirements.  No additional compensation shall be granted for any engineering control methods employed by the Contractor for compliance with this Section, OSHA or other applicable requirements.

- The General Contractor and all subcontractors shall be required to comply with all aspects of OSHA 29 CFR 1926.62 “Lead in Construction Regulations” with regards to disturbance of these materials when performing their work.  It shall be the sole responsibility of each General Contractor for compliance with OSHA including all costs associated with, but not limited to:

- Development and implementation of a Lead Compliance Program.

- Development and implementation of a Respiratory Program.

- Development and implementation of a Medical Monitoring Program.

- Development and implementation of a Hazard Communication Program.

- Performance of any lead testing required on the project.

- Performance of any Negative Exposure Assessments required.

- Providing all medical examinations required.

- Providing all equipment required (Including appropriate PPE)

- Providing all engineering controls and associated work practices.

- Disposing of all demolition material in accordance with local, state and federal regulations

- Due to the age of the building and previous painting history, the General Contractor shall assume any paint surfaces to be lead containing and comply with this Section and OSHA Regulations accordingly.

- The General Contractor may elect to perform testing to confirm the presence of lead containing materials in the buildings at their own discretion.   However, all costs associated with testing and compliance with this Section shall be borne by the General Contractor.

E.	OSHA 29 CFR 1926.62 regulates activities that disturb the lead paint by the use of manual techniques. Regulated activities include abrasive blasting, welding, and cutting, burning on structures, manual scraping or sanding, and manual demolition of structures.  The work practices described in this Section are intended to adequately protect the workers from exposure to lead containing paint (LCP), provide a safe workplace, and protect the environment.  However, it shall be the General Contractors responsibility to comply with this Section as well as any other provisions/requirements outlined by OSHA and other applicable regulations.

F.	Materials and Equipment: The work of this Section, without limiting the generality thereof, includes the furnishing of labor, materials, tools, equipment, services and incidentals necessary to safely accomplish tasks which will disturb lead containing paint.

G.	Approvals and Inspections: Temporary facilities, work procedures, equipment, materials, services, and agreements must fully comply with EPA, OSHA, and NIOSH recommendations, standards and guidelines, as well as any other applicable federal, state, and local regulations.  Where there exists an overlap of these regulations and guidelines, the most stringent shall apply.

H.	Disposal:  The General Contractor shall dispose of demolition debris and associated materials in accordance with Part 3.6 of this Section.

1.4	DEFINITIONS

A.	Action Level: Action Level as defined by OSHA 29 CFR 1926.62 shall refer to employee exposure, without regard to the use of respirators, to an airborne concentration of lead of 30 micrograms per cubic meter of air (30 ug/m3) calculated as an 8-hour time-weighted average (TWA).

B.	Competent Person: Competent Person shall refer to a person who is capable of identifying existing and predictable lead hazards in the surroundings or working conditions and who has authorization to take prompt corrective measures to eliminate them.

C.	HEPA Filter: HEPA Filter shall refer to a filter capable of filtering out monodispersive particles of 0.3 microns or greater diameter from a body of air at 99.97 percent efficiency or greater.

D.	Lead Containing Paint (LCP): LCP shall refer to paint found to contain lead in any concentration or paint assumed to contain lead as indicated in this Section.

E.	Permissible Exposure Limit (PEL): PEL shall refer to employee exposure, without regard to the use of respirators, to an airborne concentration of lead of 50 micrograms per cubic meter of air (50 ug/m3) calculated as an 8 hour time-weighted average.

1.5	PERMITS AND INSPECTIONS

A.	Notifications/Approvals: The General Contractor shall make, in proper and timely fashion, any necessary notifications to relevant Federal, State, and local authorities and shall obtain and comply with the provisions of all permits or applications required by the work specified, as well as make all required submittals required under those auspices.  The General Contractor shall indemnify the Owner, their representatives and agents from, and pay for claims resulting from failure to adhere to these provisions.  The costs for permits, applications, and the like, are to be assumed by the General Contractor.

B.	Fees, Permits and Licenses: The General Contractor shall pay licensing fees, royalties, and other costs necessary for the use of any copyrighted or patented product, design, invention, or processing the performance of the job specified in this Section.  The General Contractor shall be solely responsible for costs, damages or losses resulting from any infringement of these patent rights or copyrights.  The General Contractor shall hold the Owner and Consultant harmless from any costs, damages, and losses resulting from any infringement of these patent rights or copyrights.  If the Specification requests the use of any product, design, invention, or process that requires a licensing fee or royalty fee for use in the performance of the job, the General Contractor shall be responsible for the fee or royalty and shall disclose the existence of such rights.

C.	General Contractor shall be responsible for costs for licensing requirements and notification requirements and other fees related to the ability to perform the work in this Section. The General Contractor shall be responsible for securing necessary permits for work under this Section, including removal, materials usage, or any other permits required to perform the specified work.

1.6	SUBMITTALS

A.	Pre-Construction Submittals: Prior to the commencement of the required work, the General Contractor shall provide the following to the Owner for approval:

- A written description detailing the means and methods to achieve compliance with the OSHA standard as well as the provisions outlined herein.

- A written description detailing the means and methods for properly disposing of all demolition debris in accordance with local, state and federal regulations.

B.	During Construction Submittals: The following submittals shall be provided to the Owner for approval prior to removal of any demolition debris from the site:

- Copies of representative Toxicity Leaching Characteristic Procedure (TCLP) laboratory results for all demolition waste streams.

C.	Post-Construction Submittals: Final payment to the General Contractor shall not be made unless the following items are submitted to the Owner for approval.

- Original Copy of Waste Disposal Manifests acknowledging disposal of any hazardous and non-hazardous waste material from the project showing delivery date, quantity, and appropriate signature of landfill's authorized representative.

1.7	QUALITY CONTROL/ASSURANCE

A.	Training Requirements: Workers who will have the potential of lead exposure shall have proof of successfully completing a training course which covers the topics required by 29 CFR 1926.62.  Contractors are also advised that training in other areas may be required by OSHA and are responsible to ensure that all training requirements for appropriate trades and procedures are met.

B.	Specified Supervisor Qualifications: The General Contractor shall specify an on-site Supervisor or Competent Person who is fully qualified in all aspects of safe work practices and procedures with lead containing materials, and have (or will have) completed a training course within the previous year prior to the commencement of lead related work. The lead training course will cover all topics required by 29 CFR 1926.62 as well as training in relevant federal, state and local regulatory requirements, procedures and standards (including 454 CMR 22.00), supervisory techniques, and proper disposal procedures.

C.	Site Specific Written Compliance Program: The program will be evaluated to ensure the elements required by 29 CFR 1926.62(e)(2)(ii) (A)-(I) are specific to the conditions at the job site.

D.	Respiratory Protection Program: The General Contractor must provide for review a written respiratory protection program in accordance with 29 CFR 1920.103 if respiratory protection is to be worn during this project.

E.	Fit Test Records: If respiratory protection is to be worn as part of this project, records of successful respirator fit testing performed by a qualified individual within the previous 12 months, for each employee to be used on this project with the employee's name and social security number with each record.

F.	Medical Surveillance: The General Contractor shall provide biological monitoring to workers who have the potential of lead exposure.  This monitoring shall be performed in accordance with 29 CFR 1926.62.   If workers are expected to exceed the action level for more than 30 days in any consecutive 12 months the General Contractor shall institute a medical surveillance program in accordance with 29 CFR 1926.62.  A laboratory approved by OSHA shall conduct Blood lead level sampling and analysis.

1.8	CODES AND STANDARDS

A.	Work shall conform to the standards set by applicable federal, state and local laws, regulations, ordinances, and guidelines in such form in which they exist at the time of the work on the contract and as may be required by subsequent regulations.

B.	In addition to any detailed requirements of the Specification, the General Contractor shall at his own cost and expense comply with all laws, ordinances, rules and regulations of federal, state, regional and local authorities regarding handling and storing of lead waste material.

NOTE:	Regulations by the above and other governing agencies in their most current version are applicable throughout this project.  Where there is a conflict between this Specification and the cited federal, state or local regulations or guidelines, the more restrictive or stringent requirements shall prevail.  This Section refers to many requirements found in these references, but in no way is it intended to cite or reiterate all provisions therein or elsewhere.  It is the General Contractor's responsibility to know, understand, and abide by all such regulations, guidelines and common practices.

PART 2.0 - PRODUCTS

2.1	MATERIALS AND EQUIPMENT

A.	The General Contractor shall be responsible for providing all material and protective equipment required for performance of the work.  The General Contractor shall comply with all local, state and federal regulations pertaining to the selection and use of materials and equipment on this project.  The General Contractor shall provide a submittal on all materials and equipment to be used for review and approval by the Consultant.

PART 3.0 - EXECUTION

3.1	WORKER PROTECTION

A.	Initial Determination: The General Contractor shall determine, through personal exposure monitoring on the job site or through relevant documentation from other similar jobs, whether workers will be exposed to airborne lead at or above the OSHA Action Level and Permissible Exposure Limit.  If exposures at or above the action level are documented, appropriate health and safety procedures identified herein shall be followed.  If levels below the action level are documented, the General Contractor shall exercise an appropriate level of care to ensure that exposures above the action level do not occur.  Whenever there is a chance of equipment, process, control, personnel or a new task has been initiated that may result in additional employees being exposed to lead at or at or above the action level or may result in employees already exposed at or above the action level being exposed above the PEL, the General Contractor shall conduct additional monitoring.

Note:	The General Contractor shall be responsible for performing a negative exposure assessment on each trade subject to the OSHA Regulation.  The assessment shall take place during routine work activities, which will simulate employees, actual exposure levels to lead.  All assessments shall take place over an 8-hour time period and shall include all appropriate PPE and biological monitoring required as stated herein.

B.	Personal Hygiene Practices:  Where exposures to airborne lead above the OSHA PEL occurs or may be expected to occur, the General Contractor shall enforce and follow good personal hygiene practices. These practices shall be performed until personal exposure sampling indicates that exposures are below the PEL at which time the General Contractor has the option to continue or discontinue the use of personal hygiene facilities.  These practices shall l include but not be limited to the following:

1.	No eating, drinking, smoking, or applying of cosmetics in work area.  The General Contractor will provide a clean space, separated from the work area, for these activities.

2.	Workers must wash upon leaving the work area.  The General Contractor will provide wash facilities.  This wash facility will consist of, at least, running potable water, towels, and a HEPA vacuum.  Upon leaving the work area, each worker will remove and dispose of work suit, wash and dry face and hands, and vacuum clothes.

3.	Disposable clothing, such as TYVEK suits, and other personal protective equipment (PPE) must be donned prior to entering work area.  A clean room will be provided for workers to put on suits and other personal protective equipment and to store their street clothes.  Disposable suits shall be used once, then properly discarded.

4.	A lavatory facility must be provided and located adjacent to the work area.  The eating and drinking area, clean room, and the lavatory facility must be maintained in a clean and orderly fashion at all times.  The General Contractor will provide portable lavatories when needed and disinfect them daily.

5.	If air-monitoring data gathered by the General Contractor shows that employees' exposure to airborne lead exceeds 50 ug/m3, the following conditions apply:

a.	Showers must be provided.  Shower water must pass through at least a 5.0 micron filter before returning to the public waste system.

b.	Workers must shower upon leaving work area.

c.	Three-stage decontamination unit must be established consisting of an Equipment Room, Shower, and Clean Room in series.

3.2	WORK AREA SET UP

A.	Site Safety:  The General Contractor is responsible for all safety at the work site.  This includes, but is not limited to, electrical safety, mechanical (tool) safety, fire safety, and personnel protective safety.  Safety requirements are, for the most part, common sense and sound business practice; however, the General Contractor is advised that federal, state, and local regulations exist which govern safety on the work site.  Therefore, in addition to the following, the General Contractor is responsible for adhering to the most stringent requirements in effect.

B.	Signage:  Prior to the preparation for work which will disturb lead containing paint, the General Contractor shall place warning signs immediately outside all entrances and exists to the area, warning that lead work is being conducted in the vicinity.  The signs shall be at least 20" x 14" and read:

WARNING:

LEAD WORK AREA

POISON

NO SMOKING, EATING OR DRINKING

ALLOWED IN THE WORK AREA

The signs shall be in bold lettering with lettering not smaller than two inches tall.  Should personal exposure monitoring results indicate that exposures to lead are below the Action Level, then the signs will not be required.

C.	Access to Work Areas:  It will be the General Contractor's responsibility to allow only authorized personnel into the work area.  Barrier tape shall be used to limit access to the exterior work area.   General Contractor shall maintain a bound logbook, in which any person entering or leaving the lead work area must sign and enter the dates and times of entry and departure.  Should personal exposure results indicate the exposures to lead are below the Action Level, then a logbook will not be required.  The General Contractor or competent person will not allow anyone access to the work area unless they have successfully passed an approved training program, and have been fitted and wearing a properly fitted respirator.

Dumpsters used to store hazardous waste shall be DOT approved, solid enclosed containers and locked and secured at all times.

3.3	WORK PROCEDURES

A.	General:  Resulting bundles of "containers" of removed lead-containing components and/or debris shall be carefully handled to reduce the potential of ripping, bursting or otherwise diminishing the integrity of the bundle or "container".  Care must be taken so that leaded materials are neither burned, nor dusted, nor result in further exposure to workers, residents or observers.  Paint chips shall be contained either in the HEPA vacuum or in approved six-mil polyethylene disposal bags.

3.4	AIR SAMPLING – GENERAL CONTRACTOR

A.	Personal Exposure Monitoring:  The General Contractor shall perform personal exposure sampling to monitor personal exposure levels to airborne lead.  Samples shall be taken for the duration of the work shift or for eight hours, whichever is greater.  Personal samples need not be taken every day after the first day if working conditions remain unchanged, but must be taken every time there is a change in the removal operation, either in terms of the location or the type of work.  Sampling will be used to determine eight-hour Time-Weighted-Averages (TWA).  The General Contractor is responsible for personal sampling as outlined in OSHA Standard 29 CFR 1926.62.

B.	Frequency:  Air monitoring frequency will be established in accordance with the requirements set forth in 29 CFR 1926.62.

3.5	CLEAN-UP PROCEDURES

A.	When work is in progress, the work site shall be cleaned at end of each day's activities. The building shall be secured to prevent entry by any person after termination of workday.  Durable equipment, such as power and hand tools, generators, and vehicles shall be cleaned monthly.

B.	Equipment shall be cleaned by HEPA vacuuming.  Surfaces shall be maintained as free as practicable of accumulations of lead containing dust and debris.  Clean up of lead containing dust and debris shall be accomplished with a HEPA vacuum or wet methods.  The debris shall be misted with water with an airless type sprayer and collected with a mop or broom.

3.6	DISPOSAL OF WASTE MATERIAL

A.	General:

All costs associated with proper disposal of the waste materials (whether hazardous, non-hazardous or regulated) shall be borne by the General Contractor.  All materials, whether hazardous, non-hazardous or regulated shall be disposed of in accordance with all laws, and the provisions of this Section and any or all other applicable federal, state county or local regulations and guidelines.  It shall be the sole responsibility of the General Contractor to assure compliance with all laws and regulations relating to disposal.

- Non-Hazardous Materials:  The General Contractor shall contact the regional EPA, State and local authorities to determine disposal requirements for construction and demolition debris that contains lead paint (non-hazardous).  The General Contractor shall be responsible for providing all dumpsters/containers required for collection and disposal of such material as well as disposal in an approved landfill.

- Recyclable Materials (Non-Hazardous): The General Contractor shall note that any demolition material deemed to be recyclable by the General Contractor may contain lead, which could result in the recycling facility rejecting acceptance regardless of the lead content or TCLP result.  The General Contractor is hereby notified of this fact and shall bear all responsibilities and costs associated with acceptance and/or rejection of such materials in a C&D landfill, waste disposal facility and/or a recycling facility under their Base Bid.

- Hazardous Waste/Regulated Materials:  All materials which are determined to be hazardous waste or regulated waste for lead shall be disposed of by the General Contractor as specified herein.  The General Contractor shall perform representative TCLP tests of demolition debris to ensure the material is properly profiled for disposal.  This shall also include all testing required by the disposal or recycling facility.  All costs associated with TCLP testing to profile the waste material shall be borne by the General Contractor.  If the material is found to be hazardous waste or regulated waste, the General Contractor shall provide appropriate drums/containers for use.  The General Contractor shall properly handle and transport all hazardous waste or regulated waste material into the drums/containers provided.  The General Contractor shall coordinate all hazardous waste or regulated waste transfer and disposal procedures.   The General Contractor shall provide the Owner with all required documentation relating to the proper removal and disposal of any hazardous or regulated waste that leaves the site.

NOTE:	The Contractor shall submit copies of all TCLP Laboratory Reports to the Owner for review and approval prior to removing any demolition debris from the site.   No demolition debris shall leave the site without the express consent of the Owner.

E.	The following materials are considered Hazardous Waste (Lead) if they are generated in a form by themselves and shall be disposed of as such:

a.	Paint chip and paint chip debris

F.	The General Contractor shall be responsible for proper disposal of all materials outlined herein.  This also shall include all testing required to properly profile each material as well as any testing required by the final disposal site facility.  All costs associated with testing and disposal of the material whether non-hazardous, hazardous or regulated waste material shall be borne by the General Contractor.  In addition, all costs associated with worker protection or environmental protection requirements for such work shall be the responsibility of the General Contractor.

END OF SECTION

SECTION 02082

MISCELLANEOUS HAZARDOUS MATERIALS REMOVAL

PART I - GENERAL

1.1	GENERAL PROVISIONS

- Drawings and general provisions of the Contract, including General and Supplementary Conditions and Division I Specification Sections, apply to this Section.

- Equality of material, article, assembly or system other than those named or described in this Section shall be determined in accordance with the provisions of the CONTRACT AND GENERAL CONDITIONS.

- The General Contractor shall refer to other Sections of the Specifications for work, which may impact the sequence, or the work of this Section.  Examine all Drawings and all other Sections of the Specifications for requirements of related sections affecting the work of this Section.

- The General Contractor shall be made aware of the presence of other hazardous materials at the site to be remediated under this Contract.  The General Contractor is hereby made aware of the presence of such materials and shall comply with all applicable regulations regarding worker protection, environmental protection and disposal of such materials that may be disturbed when performing the work of this Section.  No additional compensation or contract extension shall be granted for failure to comply with this requirement.

1.2	DEFINITIONS

A.	The following definitions shall be applicable to this Section:

“Site”:  Refers to the demolition and site restoration of each specified building under this Request for Proposal as per the specifications and drawings herein.

“Owner":  Refers to the City of Springfield and their designated, authorized personnel.

“Consultant”:  Refers to Cardno ATC, 73 William Franks Drive, West Springfield, Massachusetts and their designated, authorized personnel.

“General Contractor”: Refers to Contractor who has been awarded the overall contract for demolition work outlined by the Contract Documents.  All references to General Contractor shall include all Subcontractors who work on the project as well.

B.	The Owner has retained Cardno ATC as its Environmental Consultant for Project Design, Technical Advisement and Administration of the Contract.  However, all work shall be subject to final approval by the Owner. The General Contractor shall regard Cardno ATC’s direction, as authoritative and binding as provided herein, in matters outlined by this Section and the Contract Documents.

1.3	DESCRIPTION OF WORK

A.	The General Contractor and all Subcontractor's who work on the project shall be made aware that hazardous materials may exist at the sites that will require proper removal and disposal.

Note:	The General Contractor shall refer to Part C below for general requirement regarding removal and disposal procedures as well as Section 02080- Attachment A for a list of specific hazardous materials that will require removal and disposal under this RFP.

B.	The General Contractor and all subcontractor's shall be required to comply with all aspects of local, state and federal regulations when performing removal and disposal of such materials.  Specifically, all applicable OSHA, DEP and EPA Regulations shall be adhered to.  It shall be the sole responsibility of each Contractor for compliance with such applicable regulations including all costs associated therein.

C.	General Requirements:

PCB Light Ballast and Fluorescent Tubes

The General Contractor shall be required to properly remove and dispose of all PCB light ballasts and fluorescent tubes located throughout the interior and exterior of each building.  The General Contractor shall be required to properly dismantle each light fixture for proper removal and disposal of the material.  All PCB light ballast’s and fluorescent tubes shall be removed by properly trained personnel in accordance with local, state and federal regulations and all material shall be disposed (i.e. recycled) by a disposal contractor who possesses at least one (1) year experience in the “Lighting Waste Recycling Industry”.  In addition, the disposal Contractor shall posses Pollution Liability and General Liability Insurance coverage of at least five (5) million dollars for each policy.

Heavy Metals/Hazardous Materials in Chimney

The General Contractor shall also be made aware that heavy metals and/or associated hazardous materials may be present exist within the soot/debris located in the breeching and chimney of the Boiler Room at each site.  The General Contractor shall be responsible for proper testing of such material to determine: (1) appropriate waste disposal requirements; and (2) appropriate worker protection to be employed during the work.  All costs associated with the testing and the required training, medical monitoring or PPE needed for handling this material shall be borne by the General Contractor.  All analytical results shall be reviewed and approved by the Owner's Consultant.  In addition, the General Contractor shall be responsible for all costs associated with proper collection and disposal of all material (whether hazardous, non-hazardous or regulated) and a waste manifest/shipment record shall be provided to the Owner.

Miscellaneous Chemicals

The General Contractor shall be made aware that miscellaneous containers of paints, chemicals, oil, etc. (generally in household quantities) may still be present in the building that will require disposal.  The General Contractor shall be responsible for properly identifying and disposing of all such materials as part of this RFP.  All materials shall be properly handled and disposed of in accordance with local, state and federal regulations.  All costs associated with removal, worker protection and proper testing and disposal of such materials shall be borne by the General Contractor.

Underground and Above Ground Storage Tanks

All underground storage tanks (UST’s) and above ground storage tanks (AST’s) for storage of fuel oil or gasoline shall be properly removed and disposed at each site.  This shall also include all associated fill and vent lines that are present through the building walls as well as associated feed lines to oil burners or pumps.  The General Contractor shall be required to properly remove and dispose of all UST/AST's and associated feed, fill, and vent piping, present at each property.  The General Contractor shall be required to properly evacuate, clean, and dismantle each UST/AST for proper removal and disposal of the tank and contents, including contents of feed and fill lines.   All UST/AST’s and piping shall be removed and disposed of by properly trained personnel in accordance with local, state and federal regulations.

1.4	PERMITS AND INSPECTIONS

A.	Notifications/Approvals: The General Contractor shall make, in proper and timely fashion, any necessary notifications to relevant Federal, State, and local authorities and shall obtain and comply with the provisions of all permits or applications required by the work specified, as well as make all required submittals required under those auspices.  The General Contractor shall indemnify the Owner, their representatives and agents from, and pay for claims resulting from failure to adhere to these provisions.  The costs for permits, applications, and the like, are to be assumed by the General Contractor.

B.	Fees, Permits and Licenses: The General Contractor shall pay licensing fees, royalties, and other costs necessary for the use of any copyrighted or patented product, design, invention, or processing the performance of the job specified in this Section.  The General Contractor shall be solely responsible for costs, damages or losses resulting from any infringement of these patent rights or copyrights.  The General Contractor shall hold the Owner, Architect and Consultant harmless from any costs, damages, and losses resulting from any infringement of these patent rights or copyrights.  If the Specification requests the use of any product, design, invention, or process that requires a licensing fee or royalty fee for use in the performance of the job, the General Contractor shall be responsible for the fee or royalty and shall disclose the existence of such rights.  The General Contractor shall be responsible for costs for licensing requirements and notification requirements and other fees related to the ability to perform the work in this Section. The General Contractor shall be responsible for securing necessary permits for work under this Section, including removal, materials usage, or any other permits required to perform the specified work.

1.5	SUBMITTALS

A.	Pre-Construction Submittals: Prior to the commencement of the required work, the General Contractor shall provide copies of the following to the Owner for approval:

1.	Copies of certifications, notifications and licenses (as applicable)

- Written Programs required by OSHA

- A written description detailing the means and methods to achieve compliance with the OSHA and applicable standards outlined herein.

- A written description detailing the means and methods for properly removing and disposing of all such hazardous materials in accordance with local, state and federal regulations.

B.	Post-Construction Submittals: Final payment to the Contractor shall not be made unless the following items are submitted to the Owner:

1.	Original Copy of Waste Disposal Manifests acknowledging disposal of any hazardous and non-hazardous waste material from the project showing delivery date, quantity, and appropriate signature of landfill's authorized representative.

1.6	CODES AND STANDARDS

A.	Work shall conform to the standards set by applicable federal, state and local laws, regulations, ordinances, and guidelines in such form in which they exist at the time of the work on the contract and as may be required by subsequent regulations.

B.	In addition to any detailed requirements of the Specification, the General Contractor shall at his own cost and expense comply with all laws, ordinances, rules and regulations of federal, state, regional and local authorities regarding handling and storing of hazardous material.

NOTE:	Regulations by the above and other governing agencies in their most current version are applicable throughout this project.  Where there is a conflict between this Specification and the cited federal, state or local regulations or guidelines, the more restrictive or stringent requirements shall prevail.  This Section refers to many requirements found in these references, but in no way is it intended to cite or reiterate all provisions therein or elsewhere.  It is the General Contractor's responsibility to know, understand, and abide by all such regulations, guidelines and common practices.

PART II - PRODUCTS

2.1	MATERIALS AND EQUIPMENT

A.	The General Contractor shall be responsible for providing all material and protective equipment required for performance of the work.  The General Contractor shall comply with all local, state and federal regulations pertaining to the selection and use of materials and equipment on this project.  The General Contractor shall provide a submittal on all materials and equipment to be used for review and approval by the Owner.

PART III - EXECUTION

3.1	WORKER PROTECTION

A.	Initial  Determination: The General Contractor shall determine, through personal exposure monitoring on the job site or through relevant documentation from other similar jobs, whether workers will be exposed to airborne concentrations of hazardous materials at or above the OSHA Action Level and Permissible Exposure Limit.  If exposures at or above the action level are documented, appropriate health and safety procedures required under OSHA shall be followed.  If levels below the action level are documented, the Contractor shall exercise an appropriate level of care to ensure that exposures above the action level do not occur.  Whenever there is a chance of equipment, process, control, personnel or a new task has been initiated that may result in additional employees being exposed to hazardous materials at or at or above the action level or may result in employees already exposed at or above the action level being exposed above the PEL, the General Contractor shall conduct additional monitoring.

Note:		The General Contractor shall be responsible for performing all exposure assessment testing and biological monitoring required by OSHA Regulations.  The assessment shall take place during routine work activities, which will simulate employees, actual exposure levels to such hazardous materials.  All assessments shall take place over an 8-hour time period.  In addition, all other requirements or procedures outlined by OSHA, EPA, DOT, State or Local regulations shall be provided by the General Contractor whether or not they are specifically referenced herein.

- Personal Hygiene Practices:  Where exposures to airborne concentrations exceed  the OSHA PEL, the General Contractor shall enforce and follow good personal hygiene practices. These practices shall be performed until  personal exposure sampling indicates that exposures are below the PEL at which time the General Contractor has the option to continue or discontinue the use of personal hygiene facilities.

C.	The General Contractor shall be responsible for providing all required PPE for performance of the work, including but not limited, to suits, respirators, gloves, goggles, etc.

3.2	WORK AREA SET UP

A.	Site Safety:  The General Contractor is responsible for all safety at the work site.  This includes, but is not limited to, electrical safety, mechanical (tool) safety, fire safety, and personnel protective safety.  Safety requirements are, for the most part, common sense and sound business practice; however, the General Contractor is advised that federal, state, and local regulations exist which govern safety on the work site.  Therefore, in addition to the following, the General Contractor is responsible for adhering to the most stringent requirements in effect.

B.	Signage:  Prior to the preparation for work which will disturb hazardous materials, the General Contractor shall place warning signs immediately outside all entrances and exists to the area.

C.	Access to Work Areas:  It will be the General Contractor's responsibility to allow only authorized personnel into the work area.  Barrier tape shall be used to limit access to the work area.

3.3	CLEAN-UP PROCEDURES

A.	When work is in progress, the work site shall be cleaned at end of each day's activities. The building shall be secured to prevent entry by any person after termination of workday.  Durable equipment, such as power and hand tools, generators, and vehicles shall be cleaned monthly.  Equipment shall be cleaned utilizing appropriate materials..

3.4	DISPOSAL OF WASTE MATERIAL

A.	General:

All costs associated with proper disposal of the waste materials (whether hazardous, non-hazardous or regulated) shall be borne by the General Contractor.  All materials, whether hazardous, non-hazardous or regulated, shall be disposed of in accordance with all laws, and the provisions of this Section and any or all other applicable federal, state, county or local regulations and guidelines.  It shall be the sole responsibility of the General Contractor to assure compliance with all laws and regulations relating to disposal.

B.	Hazardous Waste/Regulated Materials:  All materials which are determined to be hazardous waste or regulated waste shall be disposed of by the General Contractor in accordance with local, state and federal regulations.  The General Contractor shall be required to perform all testing required to properly profile the material for waste disposal.  This shall also include all testing required by the disposal or recycling facility.  All costs associated with such testing shall be borne by the General Contractor.  If the material is found to be hazardous waste or regulated waste, the General Contractor shall provide appropriate drums/containers for use.  The General Contractor shall properly handle and transport all such material into the drums/containers provided.  The Owner shall coordinate all hazardous waste transfer and disposal procedures.

C.	Non-Hazardous Materials:  The General Contractor shall contact the regional EPA, State and local authorities to determine disposal requirements for non-hazardous materials.  The General Contractor shall be responsible for providing all dumpsters/containers required for collection and disposal of such material as well as disposal in an approved landfill.

D.	Recyclable Materials (Non-Hazardous): The General Contractor shall note that any hazardous material deemed to be recyclable by the General Contractor could result in the recycling facility rejecting acceptance regardless of the testing results.  The General Contractor is hereby notified of this fact and shall bear all responsibilities and costs associated with acceptance and/or rejection of such materials in a C&D landfill, waste disposal facility and/or a recycling facility under their Base Bid.

- No waste material shall leave the site unless it has been properly identified and approved for such shipment by the Owner.

F.	The General Contractor shall be responsible for proper disposal of all materials outlined herein.  This also shall include all testing required to properly profile each material as well as any testing required by the final disposal site facility.  All costs associated with testing and disposal of the material whether non-hazardous, hazardous or regulated waste material shall be borne by the General Contractor.  In addition, all costs associated with worker protection or environmental protection requirements for such work shall be the responsibility of the General Contractor.

END OF SECTION

SECTION 02083

DEMOLITION

PART 1.0: GENERAL

  - GENERAL REQUIREMENTS

A.	All of the Contract Documents, including the General and Supplementary Conditions and Division 1 General Requirements, apply to the work of this Section.

B.	The Contractor shall refer to other Sections of the Specifications for work, which may impact the sequence, or the work of this Section.  Examine all Drawings and all other Sections of the Specifications for requirements of related sections affecting the work of this Section.

C.	The following definitions shall be applicable to this Section:

“Site”:  Refers to the demolition and site restoration of each specified buildings under this Request for Proposal as per the specifications and drawings herein.

“Owner":  Refers to the City of Springfield and their designated, authorized personnel.

"Consultant”: Refers to Cardno ATC, 73 William Franks Drive, West Springfield, Massachusetts and their designated, authorized personnel.

“Contractor”: Refers to the General Contractor who has been awarded the overall contract for demolition work outlined by the Contract Documents.

D.	The Owner has retained Cardno ATC as its Consultant for Project Design, Technical Advisement and Administration of the Contract.  However, all work shall be subject to final approval by the Owner.  The Contractor shall regard Cardno ATC’s direction, as authoritative and binding as provided herein, in matters outlined by this Section and the Contract Documents.

1.2	DESCRIPTION OF WORK

A.	The Work of this Section includes all labor, materials, tools, and equipment needed to demolish and dispose of all buildings specified under the Contract.

B.	The Work of this Section includes, but is not limited to:

1.	Demolition and removal of all existing construction above grade.

2.	Demolition and removal of all existing construction below grade.

3.	Sawcutting, demolition, and removal of existing paving, including but not limited to driveways and walkways.  All areas where asphalt is removed shall be restored with topsoil, seed and mulch.

4.	Disconnection and capping off all utilities.

5.	Demolition of materials unsuitable for completion of sitework.

6.	Protection of surrounding areas, streets, property, rights of way, wetland resource areas.

7.	Removal or all debris and trash located on subject properties.  Includes, but is not limited to: concrete rubble, discarded lumber, metal, glass, refuse, garbage, vehicles, equipment and wood.

8.	Removal of all trash, debris, furniture, garbage, etc. located at the interior of each building as well as within the lot line.

9.	On properties equipped with septic systems - pumping of tank.  Perforate or rupture tank and fill with clean sand.  Rupture and fill distribution box if one exists.  Pump and fill, with clean sand, any void areas associated with septic systems.  Voids include, but are not limited to leaching drywells or chambers.

Note:	Some locations of disconnects are off the property limits or within the street.  The Contractor shall be required to perform all disconnects and capping of all utilities associated with each property regardless if they exists on or off the property.  All disconnects shall be performed in accordance with the City of Springfield requirements.

C.	Intent:  The intent of the demolition Work is to safely remove and properly dispose of all existing construction at each site and prepare the site as specified in the Contract.

1.3	RELATED WORK

A.	Carefully examine all the Contract Documents for requirements that affect the Work of this Section.

B.	Other Work which directly relate to the Work of this Section include, but are not limited to:

1.	Asbestos Abatement (Section 02080).

2.	Disturbance of Lead Containing Materials (Section 02081).

3.	Miscellaneous Hazardous Materials Removal (Section 02082)

4.	Earthwork (Section 02084).

1.4	SUBMITTALS

A.	Permits and Certificates

1.	Permits and notices authorizing building demolition and utility termination.

2.	Wetlands Protection Act - DEP File Number for any property adjacent to wetlands

3.	Certificates of severance of utility services.

- Permit of transport and legal disposal of debris.

- Springfield Board of Health approval to abandon Septic System in accordance with 310 CMR 15.354.

Note:	The Contractor shall obtain and pay for all permits required to perform the work as required under this Section.  Copies of all such permits shall be provided to the Owner.

B.	Schedule:  Submit proposed methods and schedule of demolition prior to the start of Work.  Include the coordination for shut-off, capping, and continuation of utility services as required for each site.

1.5	EXISTING CONDITIONS

A.	Existing Structures:  The Owner and Consultant assume no responsibility nor make any claim regarding the condition or structural adequacy of existing constructions to be demolished.

B.	Caution:  Maintain extreme caution when working in proximity to adjacent properties not in the Contract.  Comply with all applicable city ordinances, laws and regulations.

C.	The Contractor shall refer to Section 02080 – Attachment A of this Bid Documents for a summary of hazardous materials located each site that will require proper removal and disposal in accordance with local, state and federal regulations.   No demolition work shall be performed unless the Contractor has properly abated all hazardous materials at the site and written verification is provided to the Owner for approval.

1.6	PROJECT CONDITIONS

A.	Public Safety:  Ensure the safe passage of persons and traffic on and around the Project site(s), adjacent properties, and public ways.

B.	Existing Occupancy:  All buildings to be demolished under the Contract will be unoccupied.  However, adjacent properties to each site will be occupied and special care shall be taken to control dust and noise and to avoid creating a nuisance.

C.	Explosives:  Do not bring explosives to the site or use explosives.

D.	Damages:  Report all damages immediately.  Promptly repair damages caused by demolition operations at no cost to the Owner.

E.	Subsurface Conditions:  Subsurface conditions that are detrimental to the Work of this Contract are not anticipated.  Unanticipated subsurface conditions of a minor nature, such as boulders, shall not result in any additional compensation.  Notify the Consultant immediately in writing if subsurface conditions are significantly deficient for demolition.

1.	Ground Water: Dewater, as required, all excavations.  Any conditions resulting from high ground water shall not incur additional costs to the Owner.

F.	Vegetation:  Vegetation exists in close proximity to structures.

PART 2.0: PRODUCTS

2.1	Protections:  Provide miscellaneous protections including, but not limited to dust barriers, plywood panels, and moisture barriers to ensure adjacent properties are protected at all times during demolition.

2.2	Shoring:  Provide temporary shoring and bracing of adequate size and proper configuration as required.

2.3	Utilities Capping:  Provide materials in accordance with City of Springfield utilities cutting and capping requirements.

PART 3.0: EXECUTION

3.1	INSPECTION:  Inspect and verify all existing conditions before beginning Work.

3.2	PROTECTION

A.	Ensure safety of persons and property at all times.  Provide temporary shoring and bracing as required.  Protect openings.

B.	Protect against damage to adjacent properties and areas outside the Contract.

C.	Ensure egress routes are clear at all times.  If existing egress routes are disrupted, submit alternative plans for egress for approval by local building inspector, the Owner, and the Consultant.

D.	Ensure silt and sediment resulting from exposed soils does not exit the site.  Install silt fence or other methods of erosion and sedimentation control.  The silt fence, hay bails and other methods of erosion control shall remain in-place at each site upon completion of the work.

E.	Ensure that silt or sediment is not tracked onto roadways.

F.	The Contractor shall be required to only remove existing trees as needed to properly perform demolition and removal of the site structures.  Clear-cutting of all existing trees at each site will not be permitted.

3.3	DEMOLITION

A.	General

1.	Demolish existing construction designated to be demolished or removed and remove from each site.

2.	Demolish and remove existing construction required for the proper completion of sitework.  Identify and remove all construction that is unsuitable for re-use.  Existing foundations shall be removed to a minimum depth of four (4) feet below finish grade.  Foundation hole must be clean of any wood or other debris.  Concrete shall be broken up and left in place as long as no voids are present.  Any concrete slabs present (below 4 feet of finish grade) shall be broken up and remain in place as well.  The Contractor shall request an inspection of the site through the City of Springfield Building Department after demolition is complete and prior to backfilling.

NOTE:		The Contractor shall be responsible for all costs associated with additional concrete removal and disposal required if the City of Springfield Building Department fails to approve the conditions or the work.

3.	Use demolition methods within the limitations of governing regulations.

4.	Use demolition methods that will ensure existing construction to remain is not damaged.  Use saws and drills to ensure neat, accurately formed joints and holes.

5.	Remove all debris from site and dispose of legally.

6.	Ensure structure and construction is adequately and properly shored and supported before, during, and after demolition.

B.	Pollution Controls:  Use water sprinkling, temporary enclosures, and other suitable methods to limit the amount of dust and dirt rising and scattering in the air to the lowest practical level.  Comply with governing regulations pertaining to environmental protection.  Take necessary measures to prevent silt and soils leaving the site on vehicle tires during demolition activities.  Any soils remaining on the public way resulting from demolition activities are to be swept and properly disposed of daily at the Contractor's expense.

3.4	CLEANING AND PROTECTION

A.	General Cleaning: Remove protections and clean surfaces of exhibiting dust and dirt from demolition activities.

B.	Clearing of Vegetation: Clearing of vegetation is only allowed as necessary to effectively remove a structure.

END OF SECTION

SECTION 02084

EARTHWORK

PART 1.0: GENERAL

1.1	GENERAL REQUIREMENTS

- All of the Contract Documents, including the General and Supplementary Conditions and Division 1 General Requirements, apply to the work of this Section.

- The Contractor shall refer to other Sections of the Specifications for work, which may impact the sequence, or the work of this Section.  Examine all Drawings and all other Sections of the Specifications for requirements of related sections affecting the work of this Section.

C.	The following definitions shall be applicable to this Section:

“Site”:  Refers to the demolition and site restoration of each specified building under this Request for Proposal as per the specifications and drawings herein.

“Owner":  Refers to the City of Springfield and their designated, authorized personnel.

"Consultant”: Refers to Cardno ATC, 73 William Franks Drive, West Springfield, Massachusetts and their designated, authorized personnel.

“Contractor”: Refers to the General Contractor who has been awarded the overall contract for demolition and construction work outlined by the Contract Documents.

D.	The City of Springfield has retained Cardno ATC as its Consultant for Project Design, Technical Advisement and Administration of the Contract.  However, all work shall be subject to final approval by the Owner.  The Contractor shall regard Cardno ATC’s direction, as authoritative and binding as provided herein, in matters outlined by this Section and the Contract Documents.

1.2	DESCRIPTION OF WORK

A.	The Work of this Section includes all labor, materials, tools, and equipment needed to complete site preparation, earthwork, and site restoration as specified.

B.	The Work of this Section includes, but is not limited to:

1.	Temporary protection and access.

2.	Protection of trees and plantings to remain.

3.	Preparation of subgrades for pavements and site improvements.

4.	Water and erosion control of excavations.

5.	Shoring and bracing as needed.

6.	Removal and disposal of unsuitable or surplus excavated materials off site.

7.	Providing new fill material as needed for completion of site preparation.

8.	Fill and compaction.

9.	Rough grading.

10.	Seed and mulching of site.

C.	Intent: The intent of the Work of this section is to properly prepare the site for standard maintenance activities including mowing.

1.3	RELATED WORK

A.	Carefully examine all the Contract Documents for requirements that affect the Work of this Section.

B.	Other Work which directly relate to the Work of this Section include, but are not limited to:

1.	Demolition (Section 02083)

1.4	QUALITY ASSURANCE:

A.	The Owner’s representative will be on site to insure that work specified is performed in compliance with this section.

1.	Do not place any fill until the Owner's representative has observed the foundation or excavation.

2.	All new fill material brought on-site shall be subject to approval of the Owner prior to placement of such material (e.g. filling excavations, topsoil, etc.).  The Contractor shall provide a submittal to the Owner that specifies the name, location and type of material to be obtained from the proposed fill source.  Appropriate testing of the fill material shall be required by the Owner to ensure that no hazardous constituents are present in new fill material.   Testing parameters shall include PCB’s VOC’s, SVOC’s and Metals.  The Contractor shall be responsible for all costs associated with testing of proposed fill material ands results shall be provided to the Owner for review and approval.

1.5	DELIVERY, STORAGE, AND HANDLING:  Materials shall be protected from damage from nature.  Storage of materials and equipment on site shall be coordinated with the Owner.

1.6	PROJECT CONDITIONS

A.	Grades and Layout:  The Contractor shall be responsible for verifying existing grades and layouts.  Site conditions and information must be field verified before proceeding with Work.  The Consultant reserves the right to require adjustments to accommodate field-verified conditions at no additional cost to the owner.

B.	Public Ways:  Work shall not interfere with normal use of public ways, including streets and sidewalks, unless permission is obtained from the Owner and local authorities.

PART 2.0: PRODUCTS

2.1	COMMON FILL

A.	Provide common fill consisting of new and/or on-site excavated materials composed of earth and stone, free of organic materials, broken pavement, construction debris, and stones larger than 4" in the largest dimension.  Use of recycled materials, such as re-processed building demolition material shall not be allowed.  Refer to Part 1,4 (2) of this Section for specific requirements associated with testing and approval of new fill material to be used on-site.

B.	Use:  Backfilling foundation holes.

2.2	TOPSOIL

A.	Topsoil shall be unfrozen, friable, natural loam and shall be free of clay lumps, brush, weeds, litter, stumps and other extraneous matter.  The topsoil shall have an organic content between 5% and 20% and a pH between 5.5 and 7.5.

  - SEED MIX

- 65% Kentucky Blue Grass

- 20% Perennial Rye Grass

- 15% Fescue

  - MULCH

A.	Mulch shall be stalks of oats, wheat, rye, or other approved crops free from noxious weeds and coarse materials.

PART 3.0: EXECUTION

3.1	GENERAL

A.	Inspection and Verification:  The Contractor shall inspect the site and existing conditions.  Verify all grades, utility locations, layouts, site improvements, and other existing conditions before beginning Work.

B.	Regulatory Requirements:  All Work shall conform to the requirements of OSHA and Mass. Dig Safe.  Notify authorities and utility companies, as applicable, before proceeding with Work.

C.	Stockpiling and Disposal:  Materials suitable for reuse shall be stockpiled on the side, in locations acceptable to the Owner.  Materials unsuitable for re-use shall be disposed of properly.

3.2	PROTECTION

A.	Buildings, Landscaping, and Site Improvements:  All Work shall be executed in a manner to prevent damage to existing structures, landscaping, streets, curbs, and walks to remain and to adjacent properties.  Protect all existing structures, landscaping, site improvements, and adjacent properties in Work area.

B.	Safe Passage:  Ensure safe passage of people around the Work area.  Guard Work areas with barricades, reflectors, and signs as required by the Owner, applicable safety regulations, and local authorities.

C.	Dust and Erosion Control: Take effective measures to prevent windblown dust and to control erosion and run off.

D.	Shoring and Bracing:  Design, engineer, and provide adequate shoring and bracing to prevent movement or settlement of existing and new construction, including buildings, utilities, paving, and site improvements.

E.	Utilities:  Locate, mark, and protect all utilities from damage and disruption of services outside the Scope of Work for the Project.

F.	Dewatering:  Dewater as necessary to maintain dry excavations.  Provide temporary water control ditches, pumps, and piping as needed to control water.

3.3	FILL

A.	Moisture Content:  Control moisture content of subgrades and fill materials by drying and wetting to levels required for proper compaction, as established by ASTM D1557, Method C.  Wet fill that cannot be dried within 48 hours of placement shall be removed and replaced with drier fill.

B.	Placement:  Place fill in horizontal loose layers not exceeding 12" and compact after each layer.  Fill areas for site development as required to raise grade to required subgrade elevations.

3.4	COMPACTION

A.	Site:   Contractor is to provide 85% of maximum dry density under lawn areas, as determined by ASTM D1557.  As an alternative to obtaining 85% maximum dry density, fill shall be placed in maximum 12" lifts and shall receive a minimum of three passes with a tracked bulldozer with a minimum weight of 8 tons, or two passes with a vibratory drum roller.

3.5	ROUGH GRADING

A.	Uniformly rough grade to prevent ponding of water and to slope away from structures.  Create wide swales to effectively control and drain water.  Rough grade to within ±1" of indicated subgrades.

B	Fill voids resulting from demolition of structures with appropriate fill material specified in Section 2.0.

C.	Maintenance:  Repair and re-establish grades where settlement, damage, or erosion has taken place.  Work shall include removal and restoration of surface improvements, if any.

3.6	SITE RESTORATION: Leave site in acceptable condition as specified herein.

END OF SECTION