## Sheet1
TABLE 3
SUMMARY OF STOCKPILE SOIL ANALYTICAL DATA
495 Chestnut Street School
Springfield, Massachusetts
Sample Type | Underground Storage Tank Removal
Sample Point | Stockpile | RCS-1 | RCS-2
Sample Date | 2014-10-06
Sample Depth (ft) | Composite
SW-846 1010 (°F)
Unit | °F
FLASHPOINT | >212 | NA | NA
SW-846 6010C (mg/Kg dry) Metals Digestion
Unit | µg/g | µg/g | µg/g
ARSENIC | ND (3.2) | 20 | 20
CADMIUM | ND (0.32) | 70 | 100
CHROMIUM | 27 | 100 | 200
LEAD | 9.6 | 200 | 600
SW-846 7471B (mg/Kg dry) Metals Digestion
Unit | µg/g | µg/g | µg/g
MERCURY | BRL (0.032) | 20 | 30
SW-846 8082A (mg/Kg dry)
Unit | µg/g | µg/g | µg/g
PCB 1016 | ND (0.12) | 1 | 4
PCB 1221 | ND (0.12) | 1 | 4
PCB 1232 | ND (0.12) | 1 | 4
PCB 1242 | ND (0.12) | 1 | 4
PCB 1248 | ND (0.12) | 1 | 4
PCB 1254 | ND (0.12) | 1 | 4
PCB 1260 | ND (0.12) | 1 | 4
PCB 1262 | ND (0.12) | 1 | 4
PCB 1268 | ND (0.12) | 1 | 4
SW-846 8100 Modified (mg/Kg dry)
Unit | µg/g | µg/g | µg/g
TPH | 1100 | 1000 | 3000
SW-846 9014 (mg/Kg)
Unit | µg/g | µg/g | µg/g
REACTIVE CYANIDE | ND (3.9) | NA | NA
SW-846 9030A (mg/Kg)
Unit | µg/g | µg/g | µg/g
REACTIVE SULFIDE | ND (19) | NA | NA
SW-846 9045C (pH Units)
Unit | pH Units | µg/g | µg/g
PH | 6.5 | NA | NA
Notes:
VOC - Volatile Organic Compounds.
BRL - Below reporting limits.
Bold indicates concentrations detected exceed applicable standards.
µg/g - micrograms per gram (ppm)
mg/kg - milligrams per kilogram (ppm)
NA - Not Applicable
RCS - Massachusetts Contingency Plan Reportable Concentration Standard